READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of “Plastic Laminate Panels and Metal Trim” Work is indicated on the Contract Documents.

  - REFERENCES

    - ASTM B221 extruded shapes

    - ASTM B308 extruded shapes

    - AA-M21C22A42 National Association of Architectural Metal Manufacturers (NAAMM) color-anodized finish

    - National Board of Fire Underwriters (NBFU) fireproof particle board

  - SUBMITTALS

    - Submit materials data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

      - Manufacturer’s Data: Submit the manufacturer’s material specifications and installation instructions for the plastic laminate panels and metal trim.

      - Samples: Submit three 12 inch square samples of the type of plastic laminate panels and three 12 inch long samples of color-anodized, extruded trim. The Engineer’s review of the samples will be for design, color, texture and pattern only.

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - MATERIALS

    - Plastic Laminate: 1/16-inch thick “Formica,” “Neramar,” “Laminart,” “Parkwood,” Or Approved Equal; textured finish, solid colors as selected by Engineer, except as hereinafter specified. (Note to Designer - Describe salient characteristics)  All laminate cover shall be in one piece, in panels. No visible jointing will be permitted insofar as possible.

    - Particleboard: Fireproof to Class I flame spread in accordance with National Board of Fire Underwriters’ rating.

    - Aluminum Trim Extrusions: Comply with the following standards for the forms and types of aluminum for the required items of Work.

      - Alloy and Temper: Provide alloy and temper as indicated or specified, or as otherwise recommended by the aluminum producer or finisher.

      - Extruded Shapes: ASTM B221 or B308.

  - ALUMINUM FINISHES

    - Preparation: After fabrication of trim items, prepare the aluminum surfaces for finishing in accordance with the aluminum producer’s recommendations and the standards of the finisher or processor. Process all components of each assembly simultaneously to attain complete uniformity of color.

    - Samples: Match other existing aluminum trim items used with the plastic laminate panels in adjacent areas for color and texture requirements, except for finishes which are indicated to comply with industry standard colors and texture samples. Establish samples of the required finish, for the Engineer’s acceptance, prior to fabrication of the Work. The Engineer reserves the right to reject material finishes which have objectionable variations from the established samples.

      - Prepare project samples on extrusions of the exact alloys to be used for the Work and show the range of natural variations to be expected in the finished Work by duplicate samples of varying color and texture.

    - Color-Anodized Finish: National Association of Architectural Metal Manufacturers (NAAMM) AA-M21C22A42 (minimum thickness of 0.7-mils), integral color-anodized finish.

- EXECUTION

  - INSTALLATION

    - The laminated panel system shall consist of fire-retardant particleboard with a 1/16-inch plastic laminate finish as indicated on the drawings. Suitable balancing material must be provided on the back of the panel to maintain stability and to prevent warping.

Competition waiver to be submitted to CPO for Webster Industries Cohesive Mastic to be the only approved product for the Port.

    - Application over gypsum board shall be with “Cohesive Mastic,” manufactured by Webster Industries, (Note to Designer – Provide 2 manufacturers), Or Approved Equal, as recommended by the manufacturer.  (Note to Designer - Describe salient characteristics)  Apply mastic three inch-diameter pads at eight inches on center horizontally and 12 inches on center vertically, with additional pads between joints. Mastic shall be not more than 1/2 inch from joints. Exposed nailing will not be permitted.

    - Battens: Aluminum battens with exposed, dark bronze screw fastenings. Type, size and application of aluminum batten and trim as shown on the drawings. Extrusions finish #2228, Duranodic, Kalcolor, Or Approved Equal, dark bronze finish.  (Note to Designer - Describe salient characteristics)

    - Fasten metal trim with screws through the gypsum board to a wood backing strip not less than 1/2-inch thick applied to the back side of the gypsum board. When applying paneling to existing walls, fasten 1/2-inch thick wood furring strips on the face with toggle bolts not more than two feet on center for fastening trim. Fill the area between the furring strips with 1/2-inch thick gypsum board applied with approved adhesive material and necessary mechanical attachments to securely hold the gypsum board.

    - Finish all exposed faces, edges and ends with laminated plastic. Bevel corners of exposed edges approximately to a 1/16-inch face not exceeding the thickness of the laminate. Each wall panel shall be made with a full length sheet of plastic.

    - Where indicated, neatly fit laminated plastic insert strips on aluminum sections and glue to aluminum.

    - Where exposed screws are permitted by the Engineer, they shall be oval-head, countersunk, with lacquer finish to match.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2