READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of the “Transit Station Door Assemblies” Work is indicated in the Contract Documents. The Work includes the requirement for providing necessary anchors, fasteners and accessories.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - None.

  - SUBMITTALS

    - Submit material data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

      - Shop drawings shall indicate all methods of connecting anchoring, fastening and attaching to the Work of other trades.

  - QUALITY ASSURANCE

    - Qualification of Installers: Doors shall be installed by personnel who are thoroughly trained and experienced in the installation of the transit station doors. The final installation shall not be accepted until approved by the Engineer.

  - PRODUCT HANDLING

    - Use all means necessary to protect the installed Work and materials of all other trades.

    - In the event of damage, immediately make all repairs and replacements necessary to the approval of the Engineer, at no additional cost to the Port.

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - GENERAL

    - Provide all other materials, equipment, tools and methods required for completion of the fabrication, erection and finishing of transit station door assemblies as indicated on the drawings or required for a complete installation.

- EXECUTION

  - PREPARATORY WORK

    - Inspection: Prior to all Work of this section carefully inspect the Work of all other trades and verify that all such Work is complete to the point where this Work may properly commence.

    - Discrepancies: In the event of a discrepancy do not proceed with the installation of the transit station door assemblies until all such discrepancies have been resolved by the Engineer.

  - INSTALLATION

    - Install transit station door assemblies as indicated on the drawings and in accordance with the Bidder’s inspection package available at the bid counter, 2nd Floor, Pier 69 which includes the “Airport Station Door Installation Specification” and the “Vapor Door Shop Drawings.” Note that the installation specifications are for reference only. They pertain to the original door installation and have not been revised for this job; therefore, several of the part numbers have changed and some portions may not apply. The specifications do contain the checkout procedure to be followed for establishing satisfactory operation of the doors. Use the existing installed doors as a primary guideline to assembling the new units.

    - Work the doors at Concourse “B” and Concourse “C” during regular day-shift hours. This Work is to continue only while the STS train is in the shuttle mode and does not pass through the Concourse. Coordinate with the Resident Engineer.

    - Work the doors at the Main Terminals and the North Satellite between the hours of 12 midnight and 5 a.m. This Work shall take place only when the STS train system is shut down. Coordinate with the Resident Engineer.

    - The Contractor is advised that the STS tunnel is a hazardous area due to the operation of the trains. Take adequate precautions to ensure the safety of the workers while on the track.

  - CHECKOUT

    - Check the Transit Station doors for proper mechanical and electrical operation by providing the appropriate temporary power supply and following the recommended procedures as stated in the “Airport Station Door Installation Specification.” Notify the Resident Engineer prior to testing.

  - MOTHBALLING REQUIREMENTS

    - After checkout and acceptance by the Port, the doors shall be blocked in the open position and all exposed components shall be lubricated, if applicable, and enclosed with blocking and plywood. Protective contact paper shall remain. Provide adequate clearance from the transit vehicle by restricting temporary construction to the volume inboard of the outside edge of the transit door threshold.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2