READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of “Acoustical Insulation” Work is indicated in the Contract Documents.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - ASTM C655 sound attenuation blankets

    - ASTM E90 mineral-fiber sound attenuation blanket

    - UL-723 sound attenuation blankets

  - SUBMITTALS

    - Submit material data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

  - PRODUCT HANDLING

    - Protection from Deterioration: Do not allow insulation materials to become wet or soiled, or covered with ice or snow. Comply with the manufacturer’s recommendations for handling, storage and protection during installation.

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - MATERIALS

    - Sound Attenuation Blankets: Semirigid, friction-fit, spun mineral-fiber blanket without membrane covering; flame-spread, smoke, and fuel ratings of less than 25 [UL-723]; ASTM C655, Type I; type recommended by manufacturer for maximum sound attenuation; thicknesses as indicated.

    - Mineral-Fiber Sound Attenuation Blanket: Manufacturer’s special formulation and density of not less than four pounds per cubic foot as required for STC rating of 30 when a three-inch thickness is tested with one face of heavy Kraft paper [ASTM E90].

- EXECUTION

  - INSTALLATION

    - Comply with the manufacturer’s instructions for the particular conditions of installation.

    - Extend insulation at full thickness, as shown, over the entire surface to be insulated; cut and fit tightly around obstructions and fill voids with insulation and mastic.

    - Apply a single layer of insulation of the required thickness unless otherwise shown or required to make up the total thickness.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2