READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of “Miscellaneous Specialties” Work is shown in the Contract Documents.

    - Work includes

      - Chalkboards

      - Tack boards

      - Marker boards

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - NAAMM/NOMMA AMP 500-06: National Association of Architectural Metal Manufacturers/National Ornamental & Miscellaneous Metals Association - Metal Finishes Manual for Architectural and Metal Products

    - AAMA 611-12: American Architectural Manufacturer’s Association Specification for Anodized Aluminum

    - AA-M12C22A31

  - SUBMITTALS

    - Submit material data in accordance with of Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

      - Shop Drawings: Submit for each type of chalk boards, tack boards and marker boards Include sections of typical trim members and dimensioned elevations. Show anchors, grounds reinforcement accessories, installation details, and blocking and backing requirements.

      - Samples: Submit color Samples for each type of chalk board, markerboard, tackboard, trim and accessories required. Provide 12 inch square samples of sheet materials and 12 inch lengths of trim members for color verification after selections have been made.

  - QUALITY ASSURANCE

    - Source Limitations: Obtain visual display surfaces from a single source from a single manufacturer.

    - Surface-Burning Characteristics: As determined by testing identical products according to ASTM E 84 by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

      - Flame-Spread Index: 25 or less.

      - Smoke–Developed Index: [50] [450] or less

  - PRODUCT DELIVERY, STORAGE AND HANDLING

    - Specialties shall be protected so as to prevent damage to them. Damaged items, if any, shall be repaired or replaced to the satisfaction of the Engineer at no additional cost to the Port.

    - Deliver factory built visual display surfaces, including factory applied trim where indicated, completely assembled in one piece without joints, where possible. If dimensions exceed maximum manufactured panel size, provide two or more pieces of equal length as acceptable to designer or Engineer. When overall dimensions require delivery in separate units, pre-fit components at the factory, disassemble for delivery, and make final joints at the site.

    - Store visual display surfaces vertically with packing materials between each unit.

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - CHALKBOARD

    - Porcelain coated, minimum 24 gage steel facing sheet factory laminated to 1/2 inch thick fiberboard core and balanced with a moisture-proof backing sheet bonded to the core. Extruded aluminum frame and chalk tray. Clip angle hangers at 24 inches on center top and bottom. Use “A” Series Pre-Fab, as manufactured by Greensteel, Inc., Dixonville, Pennsylvania; Series 4, as manufactured by Claridge Products and Equipment, Inc., Harrison, Arkansas, Or Approved Equal. Color shall be indicated on the drawings. Size shall be noted on the drawings.

  - TACKBOARD

    - Vinyl plastic-impregnated cork factory 1/4-inch thick cemented to 1/4-inch hardboard or plywood backing with extruded aluminum frame, bronze anodized. Clip angle hangers at 24 inches on center top and bottom. Use “A” Series, as manufactured by Greensteel, Inc., Dixonville, Pennsylvania; Series 4, Type CO, with Fabricork No. 1550, as manufactured by Claridge Products and Equipment, Inc., Harrison, Arkansas, Or Approved Equal. Color shall be as indicated on the drawings. Size shall be as noted on the drawings.

  - MARKERBOARDS

    - Porcelain-On-Metal: Balanced, high pressure laminated, 3-ply construction; with facing sheet, core and backing; complying with following requirements:

      - Facing Sheet: Enameling grade steel sheet coated on exposed face with 3-coat process of primer, ground coat and color cover coat and on concealed face with 2-coat process of primer and ground coat with ground and cover not less than 1,200 degrees F (649 degrees C).

      - Facing Sheet Thickness: 24-gauge.

      - Cover Coat Finish: Standard matte white finish, unless otherwise indicated.

      - Wear-ability Test Method: Comply with requirements of PEI Test CB-1 (t) established by Porcelain Enamel Institute, Inc.

      - Core: Hardboard

      - Thickness: 3/8 inch.

      - Backing Sheet: Aluminum foil, 0.015 inch thick.

      - Laminating Adhesive: Manufacturer's standard moisture-resistant thermoplastic type

  - GENERAL FINISH REQUIREMENTS

    - Comply with NAAMM’s “Metal Finishes Manual for Architectural and Metal Products” for recommendations for applying and designating finishes.

    - Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

    - Appearance of Finished Work: Noticeable variations in same piece are not acceptable. Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contract.

  - ALUMINUM FINISHES

    - Clear Anodic Finish: AAMA 611, AA-M12C22A31, Class II, 0.010 mm or thicker.

- EXECUTION

  - INSTALLATION OF BUILDING SPECIALTIES

    - Install building specialties as shown and in accordance with the manufacturer’s recommendations and printed instructions. Prior to the installation of the building specialties, consult with the Engineer so that minor adjustments in the locations can be decided in order to make the installations more attractive in appearance. Install materials plumb or level as applicable and attach securely to the adjacent materials with suitable fasteners. Prevent scratching or damaging adjacent materials during the installation.

    - Components: Deliver factory-built markerboard and tackboard units completely assembled in one piece without joints. When overall dimensions require delivery in separate units, pre-fit at factory, disassemble for delivery, and make final joints at site. Use splines at joints to maintain surface alignment.

    - Position: Install units in locations and mounting heights as indicated on Drawings and in accordance with manufacturer's instructions, keeping perimeter lines straight, plumb and level. Provide grounds, clips, backing materials, adhesives, brackets, anchors, trim, and accessories for complete installation.

    - Parts: Coordinate job-assembled units with grounds, trim, and accessories. Join parts with neat, precision fit.

  - PREPARATION

    - Measurements: Take field measurements prior to preparation of Shop Drawings and fabrication where possible to ensure proper fitting of Work. However, allow for trimming and fitting wherever taking of field measurements before fabrication might delay Work.

    - Comply with manufacturer’s written instructions for surface preparation.

    - Clean substrates of substances that could impair the performance of and affect the smooth, finished surfaces of visual display boards, including dirt, mold and mildew.

    - Prepare surfaces to achieve a smooth, dry, clean surface free of flaking, unsound coatings, cracks, defects, projections, depressions, and substances that will impair the bond between visual display surfaces and wall surfaces.

      - Prime wall surfaces indicated to receive and as recommended in writing by primer/ sealer manufacturer and wall covering manufacturer.

  - ENVIRONMENTAL LIMITATIONS

    - Do not deliver or install visual display surfaces until spaces are enclosed and weather tight, wet Work in spaces is complete and dry, Work above ceiling is complete, and temporary HVAC system is operating and maintaining ambient temperature and humidity conditions at occupancy levels during the reminder of the construction period.

  - CLEANING & PROTECTION

    - After completion, but prior to acceptance, protect item from all damage.

    - Clean visual display surfaces according to manufacturer’s written instructions. Attach one cleaning label to visual display surface in each room.

    - Touch up factory applied finishes to restore damaged or soiled area.

    - Cover and protect visual display surfaces after installation and cleaning.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2