READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of “Crushed Stone Surfacing” Work is shown in the Contract Documents the Work includes the requirements for producing, transporting, placing, shaping and compacting courses of one or more materials in conformance with these specifications and the dimensions and sections indicated on the drawings or within the lines and grades established by the Engineer.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - References

      - Washington State Department of Transportation (WSDOT): WSDOT - Standard Specifications for Road, Bridge, and Municipal Construction; and Amendments (current edition)

  - SUBMITTALS

    - Submit materials data in accordance with of Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

      - Screened Gavel Surfacing

      - Crushed Stone Surfacing

      - Maintenance Rock

      - Base Course

- MATERIALS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - PROJECT INFORMATION

    - JOB CONDITIONS

      - Site Information

      - Existing Utilities:

        - Underground

        - Overhead

      - Use of Explosives [other special equipment]

      - Protection of Persons and Property [other than required by General Conditions]

      - Special Controls [dust]

  - PREPARATION FOR MATERIALS

  - FABRICATION, PRODUCTION, & SUPPLY OF MATERIALS

  - MATERIAL REQUIREMENTS

    - Screened Gravel Surfacing

      - Screened Gravel Surfacing shall consist of crushed, partially crushed, or naturally occurring granular materials, or recycled concrete rubble from approved sources. It shall meet the following requirements for grading and quality when placed in the hauling vehicles for delivery to the site:

| PASSING | WT. % FOR CLASS A | CLASS B |
| --- | --- | --- |
| 1” sq. sieve | 100 |  |
| 3/4” sq. sieve | 100 |  |
| 1/4” sq. sieve | 50 to 65 | 25 to 75 |
| U.S. No. 200 sieve | 5 max. | 10 max. |
| Dust Ratio: | 2/3 max. |  |
| Sand Equivalent | 45 min. | 40 min. |
| Degradation Factor | 25 min. | 25 min. |

      - Screened Gravel Surfacing material retained on a 1/4-inch square sieve shall not contain more than 0.15% by weight of wood waste.

    - Crushed Stone Surfacing

      - Crushed Stone Surfacing shall be manufactured from recycled concrete rubble, ledge rock, talus, or gravel. The materials shall be uniform in quality free from wood, steel, roots, bark and other extraneous material and shall meet the following test requirements:

| Los Angeles, Wear, 500 Rev. | 35% max. |
| --- | --- |
| Degradation Factor - Top Course | 25 min. |
| Degradation Factor - Base Course | 15 min. |

      - Crushed stone surfacing shall meet the following requirements for grading and quality when placed in the hauling vehicle for delivery to the site:

| PASSING | WT. % FOR LOWER COURSE | KEYSTONE OR TOP COURSE |
| --- | --- | --- |
| 1-1/4” sq. sieve | 100 |  |
| 5/8” sq. sieve | 50 to 80 | 100 |
| 1/4” sq. sieve | 30 to 50 | 55 to 75 |
| U.S. No. 40 sieve | 3 to 18 | 8 to 24 |
| U.S. No. 200 sieve | 7.5 max. | 10 max. |
| Sand Equivalent | 40 min. | 40 min. |

      - Not less than 75 percent of Crushed Stone Surfacing materials retained on a U.S. No. 10 sieve shall have at least one fractured face produced by mechanical crushing.

    - Maintenance Rock

      - Maintenance Rock shall be manufactured from recycled concrete rubble, ledge rock, talus, or gravel. The material shall be uniform in quality free from wood, steel, roots, bark and other extraneous materials and shall meet the following test requirements:

| Los Angeles Wear, 500 Rev. | 35% max. |
| --- | --- |
| Degradation Factor | 25 min. |

      - Maintenance Rock shall meet the following requirements for grading and quality when placed in the hauling vehicle for delivery to the site:

| PASSING | WT. % |
| --- | --- |
| 1/2” sq. sieve | 100 |
| 1/4” sq. sieve | 55 to 70 |
| U.S. No. 40 sieve | 10 to 30 |
| U.S. No. 200 sieve | 10 max. |
| Sand Equivalent | 40 min. |

      - Not less than 75 percent of Maintenance Rock materials retained on a U.S. No. 10 sieve shall have at least one fractured face produced by mechanical crushing.

  - MATERIAL HANDLING, DELIVERY, & STORAGE

  - DELIVERABLES

  - QUALITY ASSURANCE

- EXECUTION

  - PROJECT INFORMATION

  - PREPARATION FOR EXECUTION OF WORK

  - EXECUTION OF WORK

    - Placement Of Crushed Surfacing

      - Equipment necessary for the satisfactory performance of this construction shall be on the project and approved by the Engineer prior to beginning Work. If central mix plant methods are used, the central mixing plant shall comply with the applicable portions of the WSDOT Standard Specifications.

      - Prepare subgrades as specified above and obtain Engineer’s approval before placing surfacing materials.

      - After each layer of material is placed, mix the material by motor graders or other approved equipment until the mixture is uniform throughout. Add water in an amount as directed by the Engineer to facilitate mixing and compacting.

      - Spread each layer of surfacing material by means of approved spreading equipment. Such equipment may be bottom-dump hauling equipment with transverse spreading facilities; self-propelled spreading and leveling machines; spreader boxes equipped with wheels or so constructed to preclude damage to the subgrade or underlying courses. Spreading on small areas of less than 2,000 square yards or on areas irregular in shape may be accomplished by other means as directed by the Engineer. The depth of any course of material shall not exceed 3-1/2 inches.

      - Immediately following spreading and shaping, compact each layer of surfacing to at least 95% of the standard density determined by the compaction control test for granular materials before the next succeeding layer of surfacing or pavement is placed thereon. When the thickness of surfacing is less than 0.15 feet, density testing may not be required and the Engineer will determine the number of coverages required for the particular compaction equipment available.

      - Vibratory compactors or rollers shall be adequate in design and number to provide compaction and obtain the specified density for each layer while still moist. Apply a mist spray of water as needed to replace moisture lost by evaporation. The completed layer shall have a smooth, tight, uniform surface true to the line, grade and cross section indicated on the drawings, or as staked by the Engineer.

        - Variations in the surface of the top course shall be a maximum of 1/4 inch in ten feet. Variations greater than the allowable shall be shaved off or filled in and that area re-compacted. When directed by the Engineer, use crushed surfacing top course for keystone to key the top surface of ballast, gravel base, crushed surfacing base course, or any other surfacing course which requires keying. Spread the keystone evenly on top of the surfacing course requiring it, in the amount ordered by the Engineer, by means of approved spreading equipment. The surface shall be watered and, if necessary, bladed lightly until the keystone is worked into the interstices of the surfacing course without excessive displacement and shall be compacted. The operations of adding keystone, wetting, blading and compacting shall be continued until the course has become thoroughly keyed and compacted.

      - Maintain the surface of each layer of surfacing material reasonably true to line, grade, and cross section by blading, watering, and rolling until placing the succeeding course. Place the first course of surfacing material on all available subgrade before placing the succeeding course unless otherwise authorized by the Engineer. Should irregularities develop in any surface during or after compaction, remedy by loosening the surface and correcting the defects, after which the entire area, including the surrounding surface, shall be thoroughly re-compacted. In the event additional materials are necessary to make the repairs they shall be provided at no additional cost to the Port.

      - Route hauling equipment over the roadway in such a manner as to be most effective in the compacting of the surfacing. Hauling over any of the surfacing in process of construction will not be permitted when, in the opinion of the Engineer, the effect will be detrimental.

  - DELIVERABLES

  - QUALITY ASSURANCE

    - Inspection and Testing: The Port of Seattle will provide field or plant inspection and testing service to the satisfaction of the Engineer. Sampling and testing to assure compliance with the contract provisions shall be in accordance with Section 01 45 29 - Quality Control; Testing Laboratory Services of these specifications. The Contractor may obtain copies of results of tests performed by the Port of Seattle from the office of the Engineer at no cost. Tests conducted for the sole benefit of the Contractor shall be at the Contractor's expense.

Use paragraph above when the project does not utilize CQC. Coordinate closely with Section 01 45 29 - Quality Control; Testing Laboratory Services to assure Sampling and Testing on materials called for in that section agree with intent of this section.

OR

    - Testing and Inspection for Contractor Quality Control: The Contractor shall perform the inspection and tests described below and, based upon the results of these inspections and tests, shall take the action required and shall submit specified reports.

      - Sampling and Testing of Materials:

      - Base Course Finish Surface

      - Base Course Density:

      - Surfacing Smoothness:

      - Surfacing Thickness:

      - Reports:

Use paragraph above when project utilizes CQC and Section 01 45 16.13 - Contractor’s Quality Control Program. Provide text for inspection and testing to be performed by the Contractor with specifics on frequency and scope.

Strike out or add project-specific information.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2 and revisions