READ THIS FIRST

Notice to the Design Engineer, please refer to the Port of Seattle, Facilities and Infrastructure standards for reference before editing this specification.

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of “Identification Device” Work is indicated in the Contract Documents.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - Manual of Uniform Traffic Control Devices (MUTCD) Federal Department of Transportation, Federal Highway Administration traffic control signs

    - Washington State Department of Transportation’s Standard Specifications for Road, Bridge and Municipal Construction (latest edition) traffic control signs

  - SUBMITTALS

    - Submit material data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

      - Submit shop drawings

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - MANUFACTURERS

    - Signs manufactured by Architectural Signing, Inc., Spanger Brothers, Inc., Southwell Company, Or Approved Equal.

  - SIGNS

    - Plastic signs shall be dark brown plastic with engraved white letters. Signs shall be sized according to identification requirements or as noted; lettering shall be Helvetica Regular.

    - Silk-screened signs showing clearance shall be matte finish acrylic sheet, 1/4-inch thick, with letters screened with epoxy paint. Check booth numbers shall be of the same material. Lettering shall be similar to Venus Bold Extended, size as indicated on the drawings.

    - Traffic control signs shall be manufactured of the type, size, lettering and color specified or in the Manual of Uniform Traffic Control Devices (MUTCD) published by the latest edition of Federal Department of Transportation, Federal Highway Administration. Specifications noted in the Washington State Department of Transportation’s Standard Specifications for Road, Bridge and Municipal Construction (latest edition) also apply.

- EXECUTION

  - INSTALLATION

    - Install plastic signs with adhesives recommended by the manufacturer of signs.

    - Install silk-screened signs with adhesive and oval-headed screws, four minimum.

  - SIGN VERBIAGE AND LOCATION REQUIREMENTS

    - On doors, install engraved signs bearing the text noted in the Door Schedule.

If the following paragraph is retained, additional text must be added to Part 2.

    - On the [entrance sign bridge], install electrically operated variable message signs and silk-screened signs as indicated on the drawings.

    - Install silk-screened signs at the entrance to the [Customs Building] as noted on the drawings.

    - Install traffic control signs as noted on the drawings and as directed by the Engineer.

    - Install signage on the [mirror assembly post] as noted on the drawings and as directed by the Engineer.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2