READ THIS FIRST

The Engineer shall verify that the latest version of the Federal Aviation Administration Advisory Circular AC 150/5370-10, “Standards for Specifying Construction Of Airports” and that the latest version of the “Errata Sheet for Advisory Circular (AC) 150/5370-10, Standard Specifications for Construction of Airports” are incorporated into this specification.

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

PART 1 GENERAL

  - SUMMARY OF WORK

    - The Asphalt Concrete Pavement shall be accomplished in accordance with the provisions of FAA Item P-403 Asphalt Mix Pavement Surface Course, attached hereto.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - TBD

  - SUBMITTALS

    - Submit materials data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

PART 2 NOT USED

PART 3 NOT USED

PART 4 NOT USED

End of Section

Revision History:

02/21/2020 New Section from FAA AC 150/5370-10H including errata through 11/12/2019

- Item P-403 Asphalt Mix Pavement [   Base   ] [   Leveling   ] [   Surface   ] Course

************************************************************************************

Specify base and/or leveling course. Surface course may also be specified but only for those pavements designed to accommodate aircraft of gross weights less than or equal to 30,000 pounds (13,600 kg) or for surface course of shoulders, blast pads, service roads, etc.  Item P-401 shall be specified for surface courses for pavements designed to accommodate aircraft gross weights greater than 30,000 pounds (13,600 kg). For airfield pavement projects at non primary airports, serving aircraft less than 60,000 pounds (27216 kg), state highway specifications may be used in states where the state has requested and received FAA approval to use state highway specifications.

For small maintenance and repair projects less than 3000 tons (2720 tonnes), P-403 may be used for the surface course.

This specification is to be used as a base or leveling course for pavements designed to accommodate aircraft of gross weights greater than 30,000 pounds (13,600 kg).

When used as a stabilized base course under P-501, include a bond breaker.

This specification contains job mix formula options for both Marshall and Gyratory Mix Design Methods.  The Engineer shall select the method to be used for the project, considering the prevalent method in use in the local project area.

State highway department specifications may be used in lieu of this specification for access roads, perimeter roads, stabilized base courses under Item P-501, and other pavements not subject to aircraft loading, or for pavements designed for aircraft gross weights of 30,000 pounds (13,600 kg) or less. When state highway department material specification are used:

- The state specification must have a demonstrated satisfactory performance record under equivalent loadings and exposure.

- When a density requirement is not specified by a state specification, it shall be modified to include the language found in paragraphs 403-6.1, 403-6.2, 403-6.3, and 403-6.4

- When state highway specifications are approved, include all applicable/approved state specifications in the contract documents.

- Update any references to State Department of Transportation (DOT), State Materials Laboratory, etc., to “Owner,” “Engineer,” etc. as appropriate for project.

The use of state highway department specifications for airfield pavements subject to aircraft loading by aircraft greater than 30,000 pounds and less than 60,000 pounds requires a modification to standards in accordance with FAA Order 5300.1, Modifications to Agency Airport Design, Construction, and Equipment Standards.

************************************************************************************

DESCRIPTION

403-1.1 This item shall consist of pavement courses composed of mineral aggregate and asphalt binder mixed in a central mixing plant and placed on a prepared course in accordance with these specifications and shall conform to the lines, grades, thicknesses, and typical cross-sections shown on the plans. Each course shall be constructed to the depth, typical section, and elevation required by the plans and shall be rolled, finished, and approved before the placement of the next course.

MATERIALS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

403-2.1 Aggregate. Aggregates shall consist of crushed stone, crushed gravel, crushed slag, screenings, natural sand and mineral filler, as required. The aggregates should have no known history of detrimental pavement staining due to ferrous sulfides, such as pyrite.  Coarse aggregate is the material retained on the No. 4 (4.75 mm) sieve.  Fine aggregate is the material passing the No. 4 (4.75 mm) sieve.

************************************************************************************

Some aggregates may contain ferrous sulfides and iron oxides which can cause stains on exposed surfaces.  In areas where staining has been a problem or is suspected, the Engineer should verify that producers and aggregate suppliers have taken steps to minimize the inclusion of any ferrous sulfides or iron oxides in aggregate to be used in the project.

On large projects and/or projects that span multiple construction seasons, additional aggregate tests may be necessary to validate consistency of aggregate produced and delivered for the project.

************************************************************************************

a. Coarse aggregate. Coarse aggregate shall consist of sound, tough, durable particles, free from films of matter that would prevent thorough coating and bonding with the asphalt material and free from organic matter and other deleterious substances. Coarse aggregate material requirements are given in the table below.

Coarse Aggregate Material Requirements

| Material Test | Requirement | Standard |
| --- | --- | --- |
| Resistance to Degradation | Loss: 40% maximum for surface, asphalt binder, and leveling course Loss: 50% maximum for base course | ASTM C131 |
| Soundness of Aggregates by Use of Sodium Sulfate or Magnesium Sulfate | Loss after 5 cycles: 12% maximum using Sodium sulfate - or - 18% maximum using magnesium sulfate | ASTM C88 |
| Clay lumps and friable particles | 0.3% maximum | ASTM C142 |
| Percentage of Fractured Particles | For pavements designed for aircraft gross weights of 60,000 pounds (27200 kg) or more: Minimum 75% by weight of particles with at least two fractured faces and 85% with at least one fractured face1 | ASTM D5821 |
|  | For pavements designed for aircraft gross weights less than 60,000 pounds (27200 kg): Minimum 50% by weight of particles with at least two fractured faces and 65% with at least one fractured face1 |  |
| Flat, Elongated, or Flat and Elongated Particles | 8% maximum, by weight, of flat, elongated, or flat and elongated particles with a value of 5:1 2 | ASTM D4791 |
| Bulk density of slag3 | Weigh not less than 70 pounds per cubic foot (1.12 Mg/cubic meter) | ASTM C29. |

1	The area of each face shall be equal to at least 75% of the smallest mid-sectional area of the piece. When two fractured faces are contiguous, the angle between the planes of fractures shall be at least 30 degrees to count as two fractured faces.

2	A flat particle is one having a ratio of width to thickness greater than five (5); an elongated particle is one having a ratio of length to width greater than five (5).

3	Only required if slag is specified.

b. Fine aggregate. Fine aggregate shall consist of clean, sound, tough, durable, angular shaped particles produced by crushing stone, slag, or gravel and shall be free from coatings of clay, silt, or other objectionable matter.  Natural (non-manufactured) sand may be used to obtain the gradation of the aggregate blend or to improve the workability of the mix.  Fine aggregate material requirements are listed in the table below.

Fine Aggregate Material Requirements

| Material Test | Requirement | Standard |
| --- | --- | --- |
| Liquid limit | 25 maximum | ASTM D4318 |
| Plasticity Index | 4 maximum | ASTM D4318 |
| Soundness of Aggregates by Use of Sodium Sulfate or Magnesium Sulfate | Loss after 5 cycles: 10% maximum using Sodium sulfate - or - 15% maximum using magnesium sulfate | ASTM C88 |
| Clay lumps and friable particles | 0.3% maximum | ASTM C142 |
| Sand equivalent | [ 45 minimum ] | ASTM D2419 |
| Natural Sand | [ 0 to 15% ] maximum by weight of total aggregate | ASTM D1073 |

************************************************************************************

The addition of natural sand to a mix containing all crushed coarse and fine aggregates will normally increase its workability and compactability.  The addition of natural sand tends to decrease the stability of the mixture, therefore, it is recommended to not use natural sand.  However, if natural sand is used, use the minimum amount necessary to achieve a workable mixture.

************************************************************************************

c. Sampling. ASTM D75 shall be used in sampling coarse and fine aggregate, and ASTM C183 shall be used in sampling mineral filler.

403-2.2 Mineral filler.  Mineral filler (baghouse fines) may be added in addition to material naturally present in the aggregate. Mineral filler shall meet the requirements of ASTM D242.

Mineral filler Requirements

| Material Test | Requirement | Standard |
| --- | --- | --- |
| Plasticity Index | 4 maximum | ASTM D4318 |

403-2.3 Asphalt binder. Asphalt binder shall conform to ASTM D6373 Performance Grade (PG) [      ].

[

Asphalt Binder PG Plus Test Requirements

| Material Test | Requirement | Standard |
| --- | --- | --- |
| Elastic Recovery | [75%] minimum | ASTM D60841 |

1 Follow procedure B on RTFO aged binder.]

************************************************************************************

Use the following guidance in selecting the asphalt binder PG to include in the above paragraph.

Prior to bumping for traffic, the initial PG asphalt binder should be consistent with the recommendations of the applicable State Department of Transportation requirements for pavement environmental conditions.

Additional guidance on selecting the asphalt binder PG include the following:

- Asphalt Institute MS-26, The Asphalt Binder Handbook.

- The Asphalt Institute’s State Binder Specification Database at: http://www.asphaltinstitute.org/specification-databases/us-state-binder-specification-database/The Long Term Pavement Performance Binder program at https://infopave.fhwa.dot.gov/

- Using the initial PG selected, apply the applicable grade bump in accordance with the table below to determine the PG that will be inserted in the above paragraph.

Required Grade Bump

| Aircraft Gross Weight | High Temperature Adjustment to Asphalt Binder Grade |  |
| --- | --- | --- |
|  | All Pavement Types | Pavement area with slow or stationary aircraft |
| ≤ 12,500 lbs (5670 kg) | -- | 1 Grade |
| < 100,000 lbs (45360 kg) | 1 Grade | 2 Grade |
| ≥ 100,000 lbs (45360 kg) | 2 Grade | 3 Grade |

Typically, when the PG spread between the high and low temperature is 92 or more, the asphalt binder has been modified.  The Engineer may use the PG Plus Test found in the Asphalt Institute’s State Binder Specification Database for the project location which requires modification of the table.  If the PG spread is less than 92, delete the Asphalt Binder PG Plus Test Requirements table.

Note asphalt industry is in a state of change regarding binder designations.  Some States are following ASTM D6373, while others are following AASHTO M332.  Ensure that binder supplied meets minimum requirements of ASTM D6373.

************************************************************************************

403-2.4 Anti-stripping agent. Any anti-stripping agent or additive (anti-strip) shall be heat stable and shall not change the asphalt binder grade beyond specifications. Anti-strip shall be an approved material of the Department of Transportation of the State in which the project is located.

[    403-2.5 Bond Breaker. [    Choke stone shall be an ASTM C33 Number 89 stone.    ] [    Fabric shall meet the requirements of AASHTO M 288 Class I woven fabric with elongation less than 50% at the specified strengths.  A certificate of compliance (COC) shall be provided by the fabric manufacturer that the material may be used as a bond breaker.    ] [    Liquid membrane forming compound shall be [      ].    ]

************************************************************************************

Delete paragraph 403-2.5 if asphalt pavement will be placed directly above the lean concrete base.

The Engineer must select the bond breaker when concrete pavement will be placed directly above the lean concrete base.  Coordinate with P-501.

************************************************************************************

COMPOSITION

403-3.1 Composition of mixture. The asphalt plant mix shall be composed of a mixture of well-graded aggregate, filler and anti-strip agent if required, and asphalt binder. The several aggregate fractions shall be sized, handled in separate size groups, and combined in such proportions that the resulting mixture meets the grading requirements of the job mix formula (JMF).

403-3.2 Job mix formula (JMF) laboratory.  The laboratory used to develop the JMF shall possess a current certificate of accreditation, listing D3666 from a national accrediting authority and all test methods required for developing the JMF, and listed on the accrediting authority’s website.  A copy of the laboratory’s current accreditation and accredited test methods shall be submitted to the RPR prior to start of construction.

403-3.3 Job mix formula (JMF). No asphalt mixture shall be placed until an acceptable mix design has been submitted to the RPR for review and accepted in writing. The RPR’s review shall not relieve the Contractor of the responsibility to select and proportion the materials to comply with this section.

When the project requires asphalt mixtures of differing aggregate gradations and/or binders, a separate JMF shall be submitted for each mix. Add anti-stripping agent to meet tensile strength requirements.

The JMF shall be prepared by an accredited laboratory that meets the requirements of paragraph 403-3.2.  The asphalt mixture shall be designed using procedures contained in Asphalt Institute MS-2 Mix Design Manual, 7th Edition. [   Samples shall be prepared and compacted using a Marshall compactor in accordance with ASTM D6926.   ] [   Samples shall be prepared and compacted using the gyratory compactor in accordance with ASTM D6925.   ]

Should a change in sources of materials be made, a new JMF must be submitted to the RPR for review and accepted in writing before the new material is used. After the initial production JMF has been approved by the RPR and a new or modified JMF is required for whatever reason, the subsequent cost of the new or modified JMF, including a new control strip when required by the RPR, will be borne by the Contractor.

The RPR may request samples at any time for testing, prior to and during production, to verify the quality of the materials and to ensure conformance with the applicable specifications.

************************************************************************************

Select the method for mix design, Marshall Method, ASTM D6926 or Gyratory method, ASTM D6925.

The design criteria in Table 1 are target values necessary to meet the acceptance requirements contained in paragraph 403-6.2. The criteria is based on a production process which has a material variability with the following standard deviations Air Voids = 0.65%.

************************************************************************************

The JMF shall be submitted in writing by the Contractor at least [   30   ] days prior to the start of paving operations.  The JMF shall be developed within the same construction season using aggregates proposed for project use.

The submitted JMF shall be dated, and stamped or sealed by the responsible professional Engineer of the laboratory and shall include the following items as a minimum:

- Manufacturer’s Certificate of Analysis (COA) for the asphalt binder used in the JMF in accordance with paragraph 403-2.3.  Certificate of asphalt performance grade is with modifier already added, if used and must indicate compliance with ASTM D6373. For plant modified asphalt binder, certified test report indicating grade certification of modified asphalt binder.

- Manufacturer’s Certificate of Analysis (COA) for the anti-stripping agent if used in the JMF in accordance with paragraph 403-2.4.

- Certified material test reports for the course and fine aggregate and mineral filler in accordance with paragraphs 403-2.1 and 403-2.2.

- Percent passing each sieve size for individual gradation of each aggregate cold feed and/or hot bin; percent by weight of each cold feed and/or hot bin used; and the total combined gradation in the JMF.

- Specific Gravity and absorption of each course and fine aggregate.

- Percent natural sand.

- Percent fractured faces.

- Percent by weight of flat particles, elongated particles, and flat and elongated particles (and criteria).

- Percent of asphalt.

- Number of blows or gyrations.

- Laboratory mixing and compaction temperatures.

- Supplier recommended mixing and compaction temperatures.

- Plot of the combined gradation on the 0.45 power gradation curve.

- Graphical plots of air voids, voids in the mineral aggregate (VMA), and unit weight versus asphalt content.  To achieve minimum VMA during production, the mix design needs to account for material breakdown during production.

- Tensile Strength Ratio (TSR).

- Type and amount of Anti-strip agent when used.

- Asphalt Pavement Analyzer (APA) results.

- Date the JMF was developed. Mix designs that are not dated or which are from a prior construction season shall not be accepted.

- [   Percentage and properties (asphalt content, asphalt binder properties, and aggregate properties) of reclaimed asphalt pavement (RAP) in accordance with paragraph 403-3.4, Reclaimed Hot-Mix Asphalt, if RAP is used.   ]

- [      ]

************************************************************************************

Delete if RAP is not allowed per paragraph 403-3.4.

The Owner may add additional testing to meet local conditions with FAA concurrence.

************************************************************************************

Table 1. Asphalt Design Criteria

| Test Property | Value | Test Method |
| --- | --- | --- |
| Number of blows/gyrations | [ 75 ] |  |
| Air voids (%) | 3.5 | ASTM D3203 |
| Percent voids in mineral aggregate (VMA), minimum | See Table 2 | ASTM D6995 |
| TSR1 | not less than [ 80 ] at a saturation of 70-80% | ASTM D4867 |
| Asphalt Pavement Analyzer (APA)2 | Less than 10 mm @ 4000 passes | AASHTO T340 at 250 psi hose pressure at 64°C test temperature |

- Test specimens for TSR shall be compacted at 7 ± 1.0 % air voids.  In areas subject to freeze-thaw, use freeze-thaw conditioning in lieu of moisture conditioning per ASTM D4867.

2 	AASHTO T340 at 100 psi hose pressure at 64°C test temperature may be used in the interim.  If this method is used the required Value shall be less than 5 mm @ 8000 passes

************************************************************************************

75 blows or gyrations shall be specified for airports serving aircraft greater than 60,000 pounds.  50 blows or gyrations may be specified for airports serving aircraft 60,000 pounds or less.

The APA procedure has shown that mixes that meet the requirements above perform well under aircraft loading.  The APA is preferred on airport pavement projects serving aircraft greater than 60,000 pounds. If APA is not available in an area, compacted mix design samples may be sent to a laboratory that has an APA or the Hamburg wheel test (AASHTO T 324) 10mm @ 20,000 passes at 50°C may be used with FAA approval. The use or APA or Hamburg is not required for pavements serving aircraft less than 60,000 pounds.

Specify a TSR of not less than 85 in areas with aggregate that have a history of stripping.

************************************************************************************

The mineral aggregate shall be of such size that the percentage composition by weight, as determined by laboratory sieves, will conform to the gradation or gradations specified in Table 2 when tested in accordance with ASTM C136 and ASTM C117.

The gradations in Table 2 represent the limits that shall determine the suitability of aggregate for use from the sources of supply, be well graded from coarse to fine and shall not vary from the low limit on one sieve to the high limit on the adjacent sieve, or vice versa.

Table 2. Aggregate - Asphalt Pavements

| Sieve Size | Percentage by Weight Passing Sieve |
| --- | --- |
| 1 inch (25.0 mm) | * |
| 3/4 inch (19.0 mm) | * |
| 1/2 inch (12.5 mm) | * |
| 3/8 inch (9.5 mm) | * |
| No. 4 (4.75 mm) | * |
| No. 8 (2.36 mm) | * |
| No. 16 (1.18 mm) | * |
| No. 30 (600 µm) | * |
| No. 50 (300 µm) | * |
| No. 100 (150 µm) | * |
| No. 200 (75 µm) | * |
| Voids in Mineral Aggregate (VMA)1 | * |
| Asphalt Percent: |  |
| Stone or gravel | * |
| Slag | * |
| Recommended Minimum Construction Lift Thickness |  |

1To achieve minimum VMA during production, the mix design needs to account for material breakdown during production.

The aggregate gradations shown are based on aggregates of uniform specific gravity. The percentages passing the various sieves shall be corrected when aggregates of varying specific gravities are used, as indicated in the Asphalt Institute MS-2 Mix Design Manual, 7th Edition.

************************************************************************************

The aggregate gradation shall be specified by the Engineer from the gradations shown in this note. The gradation shall be inserted into Table 2. Asterisks denote insert points.

Where locally-available aggregates cannot be economically blended to meet the grading requirements of the gradations shown, the gradations may be modified to fit the characteristics of such local aggregates with approval of the FAA. The modified gradation must produce a paving mixture that satisfies the mix design requirements.

Table 2. Aggregate - Asphalt Pavements

| Sieve Size | Percentage by Weight Passing Sieves |  |  |
| --- | --- | --- | --- |
|  | Gradation 1 | Gradation 2 | Gradation 31 |
| 1 inch (25.0 mm) | 100 | -- | -- |
| 3/4 inch (19.0 mm) | 90-100 | 100 | -- |
| 1/2 inch (12.5 mm) | 68-88 | 90-100 | 100 |
| 3/8 inch (9.5 mm) | 60-82 | 72-88 | 90-100 |
| No. 4 (4.75 mm) | 45-67 | 53-73 | 58-78 |
| No. 8 (2.36 mm) | 32-54 | 38-60 | 40-60 |
| No. 16 (1.18 mm) | 22-44 | 26-48 | 28-48 |
| No. 30 (600 µm) | 15-35 | 18-38 | 18-38 |
| No. 50 (300 µm) | 9-25 | 11-27 | 11-27 |
| No. 100 (150 µm) | 6-18 | 6-18 | 6-18 |
| No. 200 (75 µm) | 3-6 | 3-6 | 3-6 |
| Voids in Mineral Aggregate (VMA) | 14 | 15 | 16 |
| Asphalt percent by total weight of mixture: |  |  |  |
| Stone or gravel | 4.5-7.0 | 5.0-7.5 | 5.5-8.0 |
| Slag | 5.0-7.5 | 6.5-9.5 | 7.0-10.5 |
| Recommended Minimum Construction Lift Thickness | 3 inch | 2 inch | 1 1/2 inch |

1Gradation 3 is intended for leveling courses.  FAA approval is required for use in other locations.

******************************************************************************

403-3.4 Reclaimed Asphalt Pavement (RAP). [   Reclaimed asphalt pavement shall consist of reclaimed asphalt pavement (RAP), coarse aggregate, fine aggregate, mineral filler, and asphalt. Recycled asphalt shingles (RAS) shall not be allowed. The RAP shall be of a consistent gradation and asphalt content and properties. When RAP is fed into the plant, the maximum RAP chunk size shall not exceed 1-1/2 inches (38 mm). The reclaimed asphalt mix shall be designed using procedures contained in the Asphalt Institute MS-2 Mix Design Manual, 7th Edition. The percentage of asphalt in the RAP shall be established for the mixture design according to ASTM D2172 using the appropriate dust correction procedure. The JMF shall meet the requirements of paragraph 403-3.3. RAP should only be used for shoulder surface course mixes and for any intermediate courses. The use of RAP containing Coal Tar shall not be allowed.  Coal Tar surface treatments must be removed prior to recycling underlying asphalt material. The amount of RAP shall be limited to [      ] percent.

In addition to the requirements of paragraph 403-3.3, the JMF shall indicate the percent of reclaimed asphalt pavement and the percent and grade of new asphalt binder.

For the PG graded asphalt binder selected in paragraph 403-2.3, adjust as follows:

a.	For 0-20% RAP, there is no change in virgin asphalt binder content.

b.	For >20 to 30% RAP, select asphalt binder one grade softer, i.e., PG 64-22 would soften to PG 58-28.   ]

[   RAP shall not be used.   ]

************************************************************************************

Engineer will determine if RAP is/is not allowed and make appropriate selection.

RAP should not be used for surface mixes, except on shoulders. It can be used very effectively in lower layers or for shoulders. Engineer to specify the maximum percentage of reclaimed asphalt allowed in the mix. The amount of RAP shall be limited to 30%, as long as the resulting reclaimed mix meets all requirements that are specified for virgin mixtures. The Contractor may obtain the RAP from the job site or an existing source.

************************************************************************************

403-3.5 Control strip. [    A control strip is not required.    ] [    Full production shall not begin until an acceptable control strip has been constructed and accepted in writing by the RPR.  The Contractor shall prepare and place a quantity of asphalt according to the JMF. The underlying grade or pavement structure upon which the control strip is to be constructed shall be the same as the remainder of the course represented by the control strip.

The Contractor will not be allowed to place the control strip until the Contractor quality control program (CQCP), showing conformance with the requirements of paragraph 403-5.1, has been accepted, in writing, by the RPR.

The control strip will consist of at least 250 tons (227 metric tons) or 1/2 sublot, whichever is greater.  The control strip shall be placed in two lanes of the same width and depth to be used in production with a longitudinal cold joint.  The cold joint must be cut back in accordance with paragraph 403-4.13 using the same procedure that will be used during production. The cold joint for the control strip will be an exposed construction joint at least four (4) hours old or when the mat has cooled to less than 160°F (71°C). The equipment used in construction of the control strip shall be the same type, configuration and weight to be used on the project.

The control strip shall be evaluated for acceptance as a single lot in accordance with the acceptance criteria in paragraph 403-6.1 and 403-6.2.

The control strip will be considered acceptable by the RPR if the gradation, asphalt content, and VMA are within the action limits specified in paragraph 403-5.5a; and Mat density greater than or equal to 94%, air voids 3.5% +/- 1%, and joint density greater than or equal to 92%.

If the control strip is unacceptable, necessary adjustments to the JMF, plant operation, placing procedures, and/or rolling procedures shall be made and another control strip shall be placed. Unacceptable control strips shall be removed at the Contractor’s expense.

The control strip will be considered one lot for payment based upon the average of a minimum of 3 samples (no sublots required for control strip). Payment will only be made for an acceptable control strip in accordance with paragraph 403-8.1.    ]

************************************************************************************

For small projects, less than 3,000 tons (2722 metric tons), a control strip is not required.

************************************************************************************

CONSTRUCTION METHODS

403-4.1 Weather limitations. The asphalt shall not be placed upon a wet surface or when the surface temperature of the underlying course is less than specified in Table 4. The temperature requirements may be waived by the RPR, if requested; however, all other requirements including compaction shall be met.

Table 4. Surface Temperature Limitations of Underlying Course

| Mat Thickness | Base Temperature (Minimum) |  |
| --- | --- | --- |
|  | Degrees F | Degrees C |
| 3 inches (7.5 cm) or greater | 40 | 4 |
| Greater than 2 inches (50 mm) but less than 3 inches (7.5 cm) | 45 | 7 |

403-4.2 Asphalt plant. Plants used for the preparation of asphalt shall conform to the requirements of American Association of State Highway and Transportation Officials (AASHTO) M156 including the following items:

a. Inspection of plant. The RPR, or RPR’s authorized representative, shall have access, at all times, to all areas of the plant for checking adequacy of equipment; inspecting operation of the plant: verifying weights, proportions, and material properties; and checking the temperatures maintained in the preparation of the mixtures.

b. Storage bins and surge bins. The asphalt mixture stored in storage and/or surge bins shall meet the same requirements as asphalt mixture loaded directly into trucks.  Asphalt mixture shall not be stored in storage and/or surge bins for a period greater than twelve (12) hours.  If the RPR determines there is an excessive heat loss, segregation or oxidation of the asphalt mixture due to temporary storage, temporary storage shall not be allowed.

403-4.3 Aggregate stockpile management. Aggregate stockpiles shall be constructed in such a manner that prevents segregation and intermixing of deleterious materials. Aggregates from different sources shall be stockpiled, weighed and batched separately at the concrete batch plant. Aggregates that have become segregated or mixed with earth or foreign material shall not be used.

A continuous supply of materials shall be provided to the work to ensure continuous placement.

403-4.4 Hauling equipment. Trucks used for hauling asphalt shall have tight, clean, and smooth metal beds. To prevent the asphalt from sticking to the truck beds, the truck beds shall be lightly coated with a minimum amount of paraffin oil, lime solution, or other material approved by the RPR. Petroleum products shall not be used for coating truck beds. Each truck shall have a suitable cover to protect the mixture from adverse weather. When necessary, to ensure that the mixture will be delivered to the site at the specified temperature, truck beds shall be insulated or heated and covers shall be securely fastened.

403-4.4.1 Material transfer vehicle (MTV).  [   A material transfer vehicle is not required.   ] [   Material transfer Vehicles shall be required due to the improvement in smoothness and decrease in both physical and thermal segregation. To transfer the material from the hauling equipment to the paver, use a self-propelled, material transfer vehicle with a swing conveyor that can deliver material to the paver without making contact with the paver. The MTV shall be able to move back and forth between the hauling equipment and the paver providing material transfer to the paver, while allowing the paver to operate at a constant speed. The Material Transfer Vehicle will have remixing and storage capability to prevent physical and thermal segregation.   ]

************************************************************************************

An MTV is required for runway and taxiway construction on pavements designed for aircraft weighing 100,000 lbs (45360 kg) or more. The MTV is recommended for all pavements where the weight of the MTV will not damage the pavement structure. The use of an MTV is optional for shoulder construction.

************************************************************************************

403-4.5 Asphalt pavers.  Asphalt pavers shall be self-propelled with an activated heated screed, capable of spreading and finishing courses of asphalt that will meet the specified thickness, smoothness, and grade. The paver shall have sufficient power to propel itself and the hauling equipment without adversely affecting the finished surface. The asphalt paver shall be equipped with a control system capable of automatically maintaining the specified screed grade and elevation.

If the spreading and finishing equipment in use leaves tracks or indented areas, or produces other blemishes in the pavement that are not satisfactorily corrected by the scheduled operations, the use of such equipment shall be discontinued.

The paver shall be capable of paving to a minimum width specified in paragraph 401-4.11.

403-4.6 Rollers. The number, type, and weight of rollers shall be sufficient to compact the asphalt to the required density while it is still in a workable condition without crushing of the aggregate, depressions or other damage to the pavement surface. Rollers shall be in good condition, capable of operating at slow speeds to avoid displacement of the asphalt. All rollers shall be specifically designed and suitable for compacting asphalt concrete and shall be properly used. Rollers that impair the stability of any layer of a pavement structure or underlying soils shall not be used.

403-4.6.1 Density device. The Contractor shall have on site a density gauge during all paving operations in order to assist in the determination of the optimum rolling pattern, type of roller and frequencies, as well as to monitor the effect of the rolling operations during production paving. The Contractor shall also supply a qualified technician during all paving operations to calibrate the density gauge and obtain accurate density readings for all new asphalt. These densities shall be supplied to the RPR upon request at any time during construction. No separate payment will be made for supplying the density gauge and technician.

403-4.7 Preparation of asphalt binder. The asphalt binder shall be heated in a manner that will avoid local overheating and provide a continuous supply of the asphalt material to the mixer at a uniform temperature. The temperature of the unmodified asphalt binder delivered to the mixer shall be sufficient to provide a suitable viscosity for adequate coating of the aggregate particles, but shall not exceed 325°F (160°C) when added to the aggregate. The temperature of modified asphalt binder shall be no more than 350°F (175°C) when added to the aggregate.

403-4.8 Preparation of mineral aggregate. The aggregate for the asphalt shall be heated and dried. The maximum temperature and rate of heating shall be such that no damage occurs to the aggregates. The temperature of the aggregate and mineral filler shall not exceed 350°F (175°C) when the asphalt binder is added. Particular care shall be taken that aggregates high in calcium or magnesium content are not damaged by overheating. The temperature shall not be lower than is required to obtain complete coating and uniform distribution on the aggregate particles and to provide a mixture of satisfactory workability.

403-4.9 Preparation of asphalt mixture. The aggregates and the asphalt binder shall be weighed or metered and introduced into the mixer in the amount specified by the JMF. The combined materials shall be mixed until the aggregate obtains a uniform coating of asphalt binder and is thoroughly distributed throughout the mixture. Wet mixing time shall be the shortest time that will produce a satisfactory mixture, but not less than 25 seconds for batch plants. The wet mixing time for all plants shall be established by the Contractor, based on the procedure for determining the percentage of coated particles described in ASTM D2489, for each individual plant and for each type of aggregate used. The wet mixing time will be set to achieve 95% of coated particles. For continuous mix plants, the minimum mixing time shall be determined by dividing the weight of its contents at operating level by the weight of the mixture delivered per second by the mixer. The moisture content of all asphalt upon discharge shall not exceed 0.5%.

************************************************************************************

For batch plants, wet mixing time begins with the introduction of asphalt binder into the mixer and ends with the opening of the mixer discharge gate. Mixing time should be the shortest time required to obtain uniform distribution of aggregate sizes and thorough coating of aggregate particles with asphalt binder.

************************************************************************************

403-4.10 Application of Prime and Tack Coat. Immediately before placing the asphalt mixture, the underlying course shall be cleaned of all dust and debris.

[   A prime coat in accordance with Item P-602 shall be applied to aggregate base prior to placing the asphalt mixture.    ]

A tack coat shall be applied in accordance with Item P-603 to all vertical and horizontal asphalt and concrete surfaces prior to placement of the first and each subsequent lift of asphalt mixture.

403-4.11 Laydown plan, transporting, placing, and finishing. Prior to the placement of the asphalt, the Contractor shall prepare a laydown plan with the sequence of paving lanes and width to minimize the number of cold joints; the location of any temporary ramps; laydown temperature; and estimated time of completion for each portion of the work (milling, paving, rolling, cooling, etc.).  The laydown plan and any modifications shall be approved by the RPR.

Deliveries shall be scheduled so that placing and compacting of asphalt is uniform with minimum stopping and starting of the paver. Hauling over freshly placed material shall not be permitted until the material has been compacted, as specified, and allowed to cool to approximately ambient temperature.  The Contractor, at their expense, shall be responsible for repair of any damage to the pavement caused by hauling operations.

Contractor shall survey each lift of asphalt surface course and certify to RPR that every lot of each lift meets the grade tolerances of paragraph 401-6.2e before the next lift can be placed.

Edges of existing asphalt pavement abutting the new work shall be saw cut and the cut off material and laitance removed.  Apply a tack coat in accordance with P-603 before new asphalt material is placed against it.

The speed of the paver shall be regulated to eliminate pulling and tearing of the asphalt mat. Placement of the asphalt mix shall begin along the centerline of a crowned section or on the high side of areas with a one way slope unless shown otherwise on the laydown plan as accepted by the RPR.  The asphalt mix shall be placed in consecutive adjacent lanes having a minimum width of [      ] feet (m) except where edge lanes require less width to complete the area.  Additional screed sections attached to widen the paver to meet the minimum lane width requirements must include additional auger sections to move the asphalt mixture uniformly along the screed extension.  [      ]

************************************************************************************

The Engineer should specify the widest paving lane practicable in an effort to hold the number of longitudinal joints to a minimum.  Additional job specific construction limitations may be added as necessary covering such items as echelon paving, hot joint construction, etc.

************************************************************************************

The longitudinal joint in one course shall offset the longitudinal joint in the course immediately below by at least 1 foot (30 cm); however, the joint in the surface top course shall be at the centerline of crowned pavements. Transverse joints in one course shall be offset by at least 10 feet (3 m) from transverse joints in the previous course. Transverse joints in adjacent lanes shall be offset a minimum of 10 feet (3 m).On areas where irregularities or unavoidable obstacles make the use of mechanical spreading and finishing equipment impractical, the asphalt may be spread and luted by hand tools.

The RPR may at any time, reject any batch of asphalt, on the truck or placed in the mat, which is rendered unfit for use due to contamination, segregation, incomplete coating of aggregate, or overheated asphalt mixture. Such rejection may be based on only visual inspection or temperature measurements. In the event of such rejection, the Contractor may take a representative sample of the rejected material in the presence of the RPR, and if it can be demonstrated in the laboratory, in the presence of the RPR, that such material was erroneously rejected, payment will be made for the material at the contract unit price.

Areas of segregation in the surface course, as determined by the RPR, shall be removed and replaced at the Contractor’s expense. The area shall be removed by saw cutting and milling a minimum of the construction lift thickness as specified in paragraph 401-3.3, Table 2 for the approved mix design.  The area to be removed and replaced shall be a minimum width of the paver and a minimum of 10 feet (3 m) long.

403-4.12 Compaction of asphalt mixture. After placing, the asphalt mixture shall be thoroughly and uniformly compacted by self-propelled rollers. The surface shall be compacted as soon as possible when the asphalt has attained sufficient stability so that the rolling does not cause undue displacement, cracking or shoving. The sequence of rolling operations and the type of rollers used shall be at the discretion of the Contractor. The speed of the roller shall, at all times, be sufficiently slow to avoid displacement of the hot mixture and be effective in compaction. Any surface defects and/or displacement occurring as a result of the roller, or from any other cause, shall be corrected at the Contractor’s expense.

Sufficient rollers shall be furnished to handle the output of the plant. Rolling shall continue until the surface is of uniform texture, true to grade and cross-section, and the required field density is obtained. To prevent adhesion of the asphalt to the roller, the wheels shall be equipped with a scraper and kept moistened with water as necessary.

In areas not accessible to the roller, the mixture shall be thoroughly compacted with approved power tampers.

Any asphalt that becomes loose and broken, mixed with dirt, contains check-cracking, or in any way defective shall be removed and replaced with fresh hot mixture and immediately compacted to conform to the surrounding area. This work shall be done at the Contractor’s expense. Skin patching shall not be allowed.

403-4.13 Joints. The formation of all joints shall be made in such a manner as to ensure a continuous bond between the courses and obtain the required density. All joints shall have the same texture as other sections of the course and meet the requirements for smoothness and grade.

The roller shall not pass over the unprotected end of the freshly laid asphalt except when necessary to form a transverse joint. When necessary to form a transverse joint, it shall be made by means of placing a bulkhead or by tapering the course. The tapered edge shall be cut back to its full depth and width on a straight line to expose a vertical face prior to placing the adjacent lane. In both methods, all contact surfaces shall be coated with an asphalt tack coat before placing any fresh asphalt against the joint.

Longitudinal joints which are have been left exposed for more than four (4) hours; the surface temperature has cooled to less than 175°F (80°C); or are irregular, damaged, uncompacted or otherwise defective shall be cut back with a cutting wheel or pavement saw a maximum of 3 inches (75 mm) to expose a clean, sound, uniform vertical surface for the full depth of the course. All cutback material and any laitance produced from cutting joints shall be removed from the project. An asphalt tack coat or other product approved by the RPR shall be applied to the clean, dry joint prior to placing any additional fresh asphalt against the joint. The cost of this work shall be considered incidental to the cost of the asphalt.

************************************************************************************

Cut back of all cold joints is required as specified above.

The Contractor may provide additional joint density QC by use of joint heaters at the Contractor’s expense.  Electrically powered infrared heating equipment should consist of one or more low-level radiant energy heaters to uniformly heat and soften the pavement joints. The heaters should be configured to uniformly heat an area up to 18 inches (0.5 m) in width and 3 inches (75 mm) in depth.  Infrared equipment shall be thermostatically controlled to provide a uniform, consistent temperature increase throughout the layer being heated up to a maximum temperature range of 200°F to 300°F (93°C to 150°C).

Propane powered infrared heating equipment shall be attached to the paving machine and the output of infrared energy shall be in the one to six-micron range. Converters shall be arranged end to end directly over the joint to be heated in sufficient numbers to continuously produce, when in operation, a minimum of 240,000 BTU per hour. The joint heater shall be positioned not more than one inch (25 mm) above the pavement to be heated and in front of the paver screed and shall be fully adjustable. Heaters will be required to be in operation at all times.

The heaters shall be operated so they do not produce excessive heat when the units pass over new or previously paved material.

************************************************************************************

403-4.14 Saw-cut grooving. [   Saw-cut grooving is not required.   ] [   Saw-cut grooves shall be provided as specified in Item P-621.   ]

403-4.15 Diamond grinding.  Diamond grinding shall be completed prior to pavement grooving. Diamond grinding shall be accomplished by sawing with saw blades impregnated with industrial diamond abrasive.

Diamond grinding shall be performed with a machine designed specifically for diamond grinding capable of cutting a path at least 3 feet (0.9 m) wide.  The saw blades shall be 1/8-inch (3-mm) wide with a minimum of 55 to 60 blades per 12 inches (300 mm) of cutting head width; grooves between 0.090 and 0.130 inches (2 and 3.5 mm) wide; and peaks and ridges approximately 1/32 inch (1 mm) higher than the bottom of the grinding cut.  The actual number of blades will be determined by the Contractor and depend on the hardness of the aggregate. Equipment or grinding procedures that causes ravels, aggregate fractures, spalls or disturbance to the pavement will not be permitted.

Grinding will be tapered in all directions to provide smooth transitions to areas not requiring grinding.  The slurry resulting from the grinding operation shall be continuously removed and the pavement left in a clean condition. The Contractor shall apply a surface treatment per P-608 to all areas that have been subject to grinding.

403-4.16 Nighttime Paving Requirements.  The Contractor shall provide adequate lighting during any nighttime construction.  A lighting plan shall be submitted by the Contractor and approved by the RPR prior to the start of any nighttime work.  All work shall be in accordance with the approved CSPP and lighting plan.

CONTRACTOR QUALITY CONTROL (CQC)

*************************************************************************************

All federally funded projects over $500K dollars where paving is the major work item must have a CQCP.  It is strongly encouraged that a Contractor Quality Control Program (CQCP) be developed for all projects.

For projects that do not include a formal CQCP, this section can be edited to remove reference to a CQCP.   However, QC testing is still required regardless of project size.

*************************************************************************************

403-5.1 General.  [   The Contractor shall develop a CQCP in accordance with Item C-100. No partial payment will be made for materials that are subject to specific QC requirements without an approved CQCP.    ]

403-5.2 Contractor quality control (QC) facilities. [   The Contractor shall provide or contract for testing facilities in accordance with Item C-100.  The RPR shall be permitted unrestricted access to inspect the Contractor’s QC facilities and witness QC activities. The RPR will advise the Contractor in writing of any noted deficiencies concerning the QC facility, equipment, supplies, or testing personnel and procedures. When the deficiencies are serious enough to be adversely affecting the test results, the incorporation of the materials into the work shall be suspended immediately and will not be permitted to resume until the deficiencies are satisfactorily corrected.    ]

403-5.3 Quality Control (QC) testing. The Contractor shall perform all QC tests necessary to control the production and construction processes applicable to these specifications [   and as set forth in the approved CQCP. The testing program shall include, but not necessarily be limited to, tests for the control of asphalt content, aggregate gradation, temperatures, aggregate moisture, field compaction, and surface smoothness. A QC Testing Plan shall be developed as part of the CQCP    ].

a. Asphalt content. A minimum of two tests shall be performed per day in accordance with ASTM D6307 or ASTM D2172 for determination of asphalt content.  When using ASTM D6307, the correction factor shall be determined as part of the first test performed at the beginning of plant production; and as part of every tenth test performed thereafter. The asphalt content for the day will be determined by averaging the test results.

b. Gradation. Aggregate gradations shall be determined a minimum of twice per lot from mechanical analysis of extracted aggregate in accordance with ASTM D5444 and ASTM C136, and ASTM C117.

c. Moisture content of aggregate. The moisture content of aggregate used for production shall be determined a minimum of once per lot in accordance with ASTM C566.

d. Moisture content of asphalt. The moisture content of the asphalt shall be determined once per lot in accordance with AASHTO T329 or ASTM D1461.

************************************************************************************

ASTM D1461 may be replaced with AASHTO T329 when moisture content will be determined by conventional oven or microwave.

************************************************************************************

e. Temperatures. Temperatures shall be checked, at least four times per lot, at necessary locations to determine the temperatures of the dryer, the asphalt binder in the storage tank, the asphalt at the plant, and the asphalt at the job site.

f. In-place density monitoring. The Contractor shall conduct any necessary testing to ensure that the specified density is being achieved. A nuclear gauge may be used to monitor the pavement density in accordance with ASTM D2950.

g. Smoothness for Contractor Quality Control.

************************************************************************************

Note change in deviations on final surface course that require grinding, limited to deviations > 1/4 inch that trap water, intent here is to focus on areas that may cause issues with the safe operation of aircraft and to minimize grinding if it will not improve safety.

************************************************************************************

The Contractor shall perform smoothness testing in transverse and longitudinal directions daily to verify that the construction processes are producing pavement with variances less than ¼ inch in 12 feet, identifying areas that may pond water which could lead to hydroplaning of aircraft.  If the smoothness criteria is not met, appropriate changes and corrections to the construction process shall be made by the Contractor before construction continues

The Contractor may use a 12-foot (3.7 m) “straightedge, a rolling inclinometer meeting the requirements of ASTM E2133 or rolling external reference device that can simulate a 12-foot (3.7m) straightedge approved by the RPR.  Straight-edge testing shall start with one-half the length of the straightedge at the edge of pavement section being tested and then moved ahead one-half the length of the straightedge for each successive measurement.  Testing shall be continuous across all joints.  The surface irregularity shall be determined by placing the freestanding (unleveled) straightedge on the pavement surface and allowing it to rest upon the two highest spots covered by its length, and measuring the maximum gap between the straightedge and the pavement surface in the area between the two high points.  If the rolling inclinometer or external reference device is used, the data may be evaluated using either the FAA profile program, ProFAA, or FHWA ProVal, using the 12-foot straightedge simulation function..

Smoothness readings shall not be made across grade changes or cross slope transitions.  The transition between new and existing pavement shall be evaluated separately for conformance with the plans.

************************************************************************************

Include detail for transition between new and existing pavement including smoothness and grade limitations.

************************************************************************************

(1) Transverse measurements.  Transverse measurements shall be taken for each day’s production placed.  Transverse measurements will be taken perpendicular to the pavement centerline each 50 feet (15 m) or more often as determined by the RPR.  The joint between lanes shall be tested separately to facilitate smoothness between lanes.

(2) Longitudinal measurements.  Longitudinal measurements shall be taken for each day’s production placed.  Longitudinal tests will be parallel to the centerline of paving; at the center of paving lanes when widths of paving lanes are less than 20 feet (6 m); and at the third points of paving lanes when widths of paving lanes are 20 ft (6 m) or greater.

Deviations on the final surface course in either the transverse or longitudinal direction that will trap water greater than 1/4 inch (6 mm) shall be corrected with diamond grinding per paragraph 403-4.15 or by removing and replacing the surface course to full depth.  Grinding shall be tapered in all directions to provide smooth transitions to areas not requiring grinding.  All areas in which diamond grinding has been performed shall be subject to the final pavement thickness tolerances specified in paragraph 401-6.1d(3)  Areas that have been ground shall be sealed with a surface treatment in accordance with Item P-608.  To avoid the surface treatment creating any conflict with runway or taxiway markings, it may be necessary to seal a larger area.

Control charts shall be kept to show the area of each day’s placement and the percentage of corrective grinding required.  Corrections to production and placement shall be initiated when corrective grinding is required.  If the Contractor’s machines and/or methods produce significant areas that need corrective actions in excess of 10 percent of a day’s production, production shall be stopped until corrective measures are implemented by the Contractor.

h. Grade.  Grade shall be evaluated daily to allow adjustments to paving operations when grade measurements do not meet specifications.  As a minimum, grade shall be evaluated prior to the placement of the first lift and then prior to and after placement of the surface lift.

Measurements will be taken at appropriate gradelines (as a minimum at center and edges of paving lane) and longitudinal spacing as shown on cross-sections and plans.  The final surface of the pavement will not vary from the gradeline elevations and cross-sections shown on the plans by more than 1/2 inch (12 mm) vertically [   and 0.1 feet (30 mm) laterally   ].  The documentation will be provided by the Contractor to the RPR [   within 24 hours   ] [   by the end of the following working day   ].

Areas with humps or depressions that exceed grade or smoothness criteria and that retain water on the surface must be ground off provided the course thickness after grinding is not more than 1/2 inch (12 mm) less than the thickness specified on the plans.  Grinding shall be in accordance with paragraph 403-4.15.

The Contractor shall repair low areas or areas that cannot be corrected by grinding by removal of deficient areas to the depth of the final course plus ½ inch and replacing with new material.  Skin patching is not allowed.

403-5.4 Sampling. When directed by the RPR, the Contractor shall sample and test any material that appears inconsistent with similar material being sampled, unless such material is voluntarily removed and replaced or deficiencies corrected by the Contractor. All sampling shall be in accordance with standard procedures specified.

403-5.5 Control charts. The Contractor shall maintain linear control charts both for individual measurements and range (i.e., difference between highest and lowest measurements) for aggregate gradation, asphalt content, and VMA. The VMA for each day shall be calculated and monitored by the QC laboratory.

Control charts shall be posted in a location satisfactory to the RPR and kept current. As a minimum, the control charts shall identify the project number, the contract item number, the test number, each test parameter, the Action and Suspension Limits applicable to each test parameter, and the Contractor’s test results. The Contractor shall use the control charts as part of a process control system for identifying potential problems and assignable causes before they occur. If the Contractor’s projected data during production indicates a problem and the Contractor is not taking satisfactory corrective action, the RPR may suspend production or acceptance of the material.

a. Individual measurements. Control charts for individual measurements shall be established to maintain process control within tolerance for aggregate gradation, asphalt content, and VMA. The control charts shall use the JMF target values as indicators of central tendency for the following test parameters with associated Action and Suspension Limits:

Control Chart Limits for Individual Measurements

| Sieve | Action Limit | Suspension Limit |
| --- | --- | --- |
| 3/4 inch (19.0 mm) | ±6% | ±9% |
| 1/2 inch (12.5 mm) | ±6% | ±9% |
| 3/8 inch (9.5 mm) | ±6% | ±9% |
| No. 4 (4.75 mm) | ±6% | ±9% |
| No. 16 (1.18 mm) | ±5% | ±7.5% |
| No. 50 (300 µm) | ±3% | ±4.5% |
| No. 200 (75 µm) | ±2% | ±3% |
| Asphalt Content | ±0.45% | ±0.70% |
| Minimum VMA | -0.5% | -1.0% |

b. Range. Control charts for range shall be established to control process variability for the test parameters and Suspension Limits listed below. The range shall be computed for each lot as the difference between the two test results for each control parameter. The Suspension Limits specified below are based on a sample size of n = 2. Should the Contractor elect to perform more than two tests per lot, the Suspension Limits shall be adjusted by multiplying the Suspension Limit by 1.18 for n = 3 and by 1.27 for n = 4.

Control Chart Limits Based on Range 
(n = 2)

| Sieve | Suspension Limit |
| --- | --- |
| 1/2 inch (12.5 mm) | 11% |
| 3/8 inch (9.5 mm) | 11% |
| No. 4 (4.75 mm) | 11% |
| No. 16 (1.18 mm) | 9% |
| No. 50 (300 µm) | 6% |
| No. 200 (75 µm) | 3.5% |
| Asphalt Content | 0.8% |

c. Corrective action. [   The CQCP shall indicate that appropriate action shall be taken when the process is believed to be out of tolerance. The Plan shall contain sets of rules to gauge when a process is out of control and detail what action will be taken to bring the process into control. As a minimum, a process shall be deemed out of control and production stopped and corrective action taken, if:

(1) One point falls outside the Suspension Limit line for individual measurements or range; or

(2) Two points in a row fall outside the Action Limit line for individual measurements.    ]

403-5.6 Quality control (QC) reports. The Contractor shall maintain records and shall submit reports of QC activities daily [   , in accordance with the CQCP described in Item C-100   ].

MATERIAL ACCEPTANCE

403-6.1. Quality Assurance Acceptance sampling and testing. Unless otherwise specified, all acceptance sampling and testing necessary to determine conformance with the requirements specified in this section will be performed by the RPR at no cost to the Contractor except that coring as required in this section shall be completed and paid for by the Contractor.

a. Quality Assurance (QA) testing laboratory.  The QA testing laboratory performing these acceptance tests will be accredited in accordance with ASTM D3666. The QA laboratory accreditation will be current and listed on the accrediting authority’s website.  All test methods required for acceptance sampling and testing will be listed on the lab accreditation.

b. Lot Size.  A standard lot will be equal to one day’s production divided into approximately equal sublots of between 400 to 600 tons.  When only one or two sublots are produced in a day’s production, the sublots will be combined with the production lot from the previous or next day.

Where more than one plant is simultaneously producing asphalt for the job, the lot sizes will apply separately for each plant.

************************************************************************************

For large projects with high production rates, the Engineer may adjust the lot size to be ½ days production.

For small projects, with multiple small placements or if the total project size is less than 3000 tons (2270 metric tons), acceptable material will be paid for by the ton (metric ton) placed per day.

************************************************************************************

c. Asphalt air voids. Plant-produced asphalt will be tested for air voids on a sublot basis.

(1) Sampling.  Material from each sublot shall be sampled in accordance with ASTM D3665.  Samples shall be taken from material deposited into trucks at the plant or at the job site in accordance with ASTM D979.  The sample of asphalt may be put in a covered metal tin and placed in an oven for [   not less than 30 minutes nor more than 60 minutes   ] to maintain the material at or above the compaction temperature as specified in the JMF.

************************************************************************************

Engineer should increase hold times to not less than 60 minutes and not more than 90 minutes when absorptive aggregates are used.

************************************************************************************

(2) Testing.  Air voids will be determined for each sublot in accordance with ASTM D3203 for a set of compacted specimens prepared in accordance with [   ASTM D6926   ] [   ASTM D6925   ].

d. In-place asphalt mat and joint density. Each sublot will be tested for in-place mat and joint density as a percentage of the theoretical maximum density (TMD).

(1) Sampling. The [   Contractor   ] [   RPR   ] will cut minimum 5 inches (125 mm) diameter samples in accordance with ASTM D5361. The Contractor shall furnish all tools, labor, and materials for cleaning, and filling the cored pavement. Laitance produced by the coring operation shall be removed immediately after coring, and core holes shall be filled within one day after sampling in a manner acceptable to the RPR.

(2) Bond.  Each lift of asphalt shall be bonded to the underlying layer.  If cores reveal that the surface is not bonded, additional cores shall be taken as directed by the RPR to determine the extent of unbonded areas.  Unbonded areas shall be removed by milling and replaced at no additional cost as directed by the RPR.

(3) Thickness.  Thickness of each lift of surface course will be evaluated by the RPR for compliance to the requirements shown on the plans after any necessary corrections for grade. Measurements of thickness will be made using the cores extracted for each sublot for density measurement. The maximum allowable deficiency at any point will not be more than 1/4 inch (6 mm) less than the thickness indicated for the lift. Average thickness of lift, or combined lifts, will not be less than the indicated thickness. Where the thickness tolerances are not met, the lot or sublot shall be corrected by the Contractor at his expense by removing the deficient area and replacing with new pavement. The Contractor, at his expense, may take additional cores as approved by the RPR to circumscribe the deficient area.

(4) Mat density. One core shall be taken from each sublot. Core locations will be determined by the RPR in accordance with ASTM D3665. Cores for mat density shall not be taken closer than one foot (30 cm) from a transverse or longitudinal joint. The bulk specific gravity of each cored sample will be determined in accordance with ASTM D2726.  The percent compaction (density) of each sample will be determined by dividing the bulk specific gravity of each sublot sample by the TMD for that sublot.

(5) Joint density. One core centered over the longitudinal joint shall be taken for each sublot which contains a longitudinal joint. Core locations will be determined by the RPR in accordance with ASTM D3665.  The bulk specific gravity of each core sample will be determined in accordance with ASTM D2726.  The percent compaction (density) of each sample will be determined by dividing the bulk specific gravity of each joint density sample by the average TMD for the lot. The TMD used to determine the joint density at joints formed between lots will be the lower of the average TMD values from the adjacent lots.

403-6.2 Acceptance criteria.

a. General. Acceptance will be based on the implementation of the Contractor Quality Control Program (CQCP) and the following characteristics of the asphalt and completed pavements:  air voids, mat density, joint density, grade [   and Profilograph smoothness   ]

************************************************************************************

Only include profilograph smoothness for runway and/or taxiway pavement projects greater than 500 feet (150 m) in length.

************************************************************************************

b. Air voids.  Acceptance of each lot of plant produced material for air voids will be based upon the average air void from the sublots.  If the average air voids of the lot are equal to or greater than 2% and equal to or less than 5%, then the lot will be acceptable.  If the average is below 2% or greater than 5%, the lot shall be removed and replaced at the Contractor’s expense.

c. Mat density. Acceptance of each lot of plant produced material for mat density will be based on the average of all of the densities taken from the sublots. If the average mat density of the lot so established equals or exceeds 94%, the lot will be acceptable. If the average mat density of the lot is below 94%, the lot shall be removed and replaced at the Contractor’s expense.

d. Joint density. Acceptance of each lot of plant produced asphalt for joint density will be based on the average of all of the joint densities taken from the sublots. If the average joint density of the lot so established equals or exceeds 92%, the lot will be acceptable. If the average joint density of the lot is less than 92%, the Contractor shall stop production and evaluate the method of compacting joints. Production may resume once the reason for poor compaction has been determined and appropriate measures have been taken to ensure proper compaction.

e. Grade. The final finished surface of the pavement of the completed project shall be surveyed to verify that the grade elevations and cross-sections shown on the plans do not deviate more than 1/2 inch (12 mm) vertically [   or 0.1 feet (30 mm) laterally   ].

Cross-sections of the pavement shall be taken at a minimum [   50-foot (15-m)    ] longitudinal spacing and at all longitudinal grade breaks.  Minimum cross-section grade points shall include grade at centerline, [   ± 10 feet of centerline   ], and edge of [   runway   ] [   taxiway   ] pavement.

The survey and documentation shall be stamped and signed by a licensed surveyor.  Payment for sublots that do not meet grade for over 25% of the sublot shall not be more than 95%.

[   f. Profilograph roughness for QA Acceptance.  The final profilograph shall be the full length of the project to facilitate testing of roughness between lots. The [   Contractor, in the presence of the RPR shall   ] [   RPR will   ] perform a profilograph roughness test on the completed project with a profilograph meeting the requirements of ASTM E1274 or a Class I inertial profiler meeting ASTM E950.  Data and results shall be provided within [   48 hrs   ] of profilograph roughness tests.

The pavement shall have an average profile index less than 15 inches per mile per 1/10 mile.  The equipment shall utilize electronic recording and automatic computerized reduction of data to indicate “must grind” bumps and the Profile Index for the pavement using a 0.2-inch (5 mm) blanking band.  The bump template must span one inch (25 mm) with an offset of 0.4 inches (10 mm).  The profilograph must be calibrated prior to use and operated by a factory or State DOT approved, trained operator.  Profilograms shall be recorded on a longitudinal scale of one inch (25 mm) equals 25 feet (7.5 m) and a vertical scale of one inch (25 mm) equals one inch (25 mm).  Profilograph shall be performed one foot right and left of project centerline and 15 feet (4.5 m) right and left of project centerline.  Any areas that indicate “must grind” shall be corrected with diamond grinding per paragraph 401-4.15 or by removing and replacing full depth of surface course. as directed by the RPR.  Where corrections are necessary, a second profilograph run shall be performed to verify that the corrections produced an average profile index of 15 inches per mile per 1/10 mile or less.    ]

************************************************************************************

Profilograph roughness and acceptance adjustment paragraphs only apply when the overall project is a new and/or reconstructed runway(s) and/or taxiway(s) greater than 500 feet (152 m) in length.

Profilograph roughness is not applicable to aprons and should be used with caution on projects to rehabilitate runways and/or taxiways unless the project includes provisions to correct existing deficiencies.

Any changes to the profilograph roughness acceptance limits require a modification to standards in accordance with FAA Order 5300.1, Modifications to Agency Airport Design, Construction, and Equipment Standards.

The Engineer must select who will provide the specified equipment and the timeframe for receiving the test data.  The Airport should retain a copy of the profilograph roughness test and reports for inclusion in the Airport’s Pavement Maintenance Management Program (PMP).

************************************************************************************

403-6.3 Resampling Pavement for Mat Density.

a. General. Resampling of a lot of pavement will only be allowed for mat density and then, only if the Contractor requests same in writing, within 48 hours after receiving the written test results from the RPR. A retest will consist of all the sampling and testing procedures contained in paragraphs 403-6.1. Only one resampling per lot will be permitted.

(1) A redefined mat density will be calculated for the resampled lot. The number of tests used to calculate the redefined mat density will include the initial tests made for that lot plus the retests.

(2) The cost for resampling and retesting shall be borne by the Contractor.

b. Payment for resampled lots. The redefined mat density for a resampled lot will be used to evaluate the acceptance of that lot in accordance with paragraph 403-6.2.

c. Outliers. Check for outliers in accordance with ASTM E178, at a significance level of 5%.  Outliers will be discarded and density determined using the remaining test values.

[   403-6.4 Leveling course. The leveling course is the first variable thickness lift placed to correct surface irregularities prior to placement of subsequent courses.  The leveling course shall meet the aggregate gradation in Table 2, paragraph 403-3.3.  The leveling course shall meet the requirements of paragraph 403-3.3, 403-6.1b for air voids, but shall not be subject to the density requirements of paragraph 403-6.1c. The leveling course shall be compacted with the same effort used to achieve density of the control strip. The leveling course shall not exceed the lift thickness associated with each gradation in Table 2, paragraph 403-3.3.   ]

************************************************************************************

Use this paragraph only when there is a need to restore proper cross-section prior to overlaying. Areas of the pavement requiring a leveling course shall be shown on the plans.

************************************************************************************

METHOD OF MEASUREMENT

403-7.1 Measurement. Plant mix asphalt mix pavement shall be measured by the number of tons (kg) of asphalt pavement used in the accepted work. Recorded batch weights or truck scale weights will be used to determine the basis for the tonnage.

BASIS OF PAYMENT

403-8.1 Payment. Payment for a lot of asphalt mixture meeting all acceptance criteria as specified in paragraph 403-6.2 shall be made at the contract unit price per ton (kg) for asphalt. The price shall be compensation for furnishing all materials, for all preparation, mixing, and placing of these materials, and for all labor, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item P-403-8.1	Asphalt Mixture [      ] [   Surface   ] [   Base   ] [   Binder   ] [   Leveling   ] Course - per ton (kg)

References

The publications listed below form a part of this specification to the extent referenced. The publications are referred to within the text by the basic designation only.

ASTM International (ASTM)

ASTM C29	Standard Test Method for Bulk Density (“Unit Weight”) and Voids in Aggregate

ASTM C88	Standard Test Method for Soundness of Aggregates by Use of Sodium Sulfate or Magnesium Sulfate

ASTM C117	Standard Test Method for Materials Finer than 75-μm (No. 200) Sieve in Mineral Aggregates by Washing

ASTM C127	Standard Test Method for Density, Relative Density (Specific Gravity), and Absorption of Coarse Aggregate

ASTM C131	Standard Test Method for Resistance to Degradation of Small-Size Coarse Aggregate by Abrasion and Impact in the Los Angeles Machine

ASTM C136	Standard Test Method for Sieve or Screen Analysis of Fine and Coarse Aggregates

ASTM C142	Standard Test Method for Clay Lumps and Friable Particles in Aggregates

ASTM C183	Standard Practice for Sampling and the Amount of Testing of Hydraulic Cement

ASTM C566	Standard Test Method for Total Evaporable Moisture Content of Aggregate by Drying

ASTM D75	Standard Practice for Sampling Aggregates

ASTM D242	Standard Specification for Mineral Filler for Bituminous Paving Mixtures

ASTM D946	Standard Specification for Penetration-Graded Asphalt Cement for Use in Pavement Construction

ASTM D979	Standard Practice for Sampling Bituminous Paving Mixtures

ASTM D1073	Standard Specification for Fine Aggregate for Bituminous Paving Mixtures

ASTM D1074	Standard Test Method for Compressive Strength of Bituminous Mixtures

ASTM D1461	Standard Test Method for Moisture or Volatile Distillates in Bituminous Paving Mixtures

ASTM D2041	Standard Test Method for Theoretical Maximum Specific Gravity and Density of Bituminous Paving Mixtures

ASTM D2172	Standard Test Method for Quantitative Extraction of Bitumen from Bituminous Paving Mixtures

ASTM D2419	Standard Test Method for Sand Equivalent Value of Soils and Fine Aggregate

ASTM D2489	Standard Practice for Estimating Degree of Particle Coating of Bituminous-Aggregate Mixtures

ASTM D2726	Standard Test Method for Bulk Specific Gravity and Density of Non-Absorptive Compacted Bituminous Mixtures

ASTM D2950	Standard Test Method for Density of Bituminous Concrete in Place by Nuclear Methods

ASTM D3203	Standard Test Method for Percent Air Voids in Compacted Dense and Open Bituminous Paving Mixtures

ASTM D3381	Standard Specification for Viscosity-Graded Asphalt Cement for Use in Pavement Construction

ASTM D3665	Standard Practice for Random Sampling of Construction Materials

ASTM D3666	Standard Specification for Minimum Requirements for Agencies Testing and Inspecting Road and Paving Materials

ASTM D4125	Standard Test Methods for Asphalt Content of Bituminous mixtures by the Nuclear Method

ASTM D4318	Standard Test Methods for Liquid Limit, Plastic Limit, and Plasticity Index of Soils

ASTM D4552	Standard Practice for Classifying Hot-Mix Recycling Agents

ASTM D4791	Standard Test Method for Flat Particles, Elongated Particles, or Flat and Elongated Particles in Coarse Aggregate

ASTM D4867	Standard Test Method for Effect of Moisture on Asphalt Concrete Paving Mixtures

ASTM D5444	Standard Test Method for Mechanical Size Analysis of Extracted Aggregate

ASTM D5581	Standard Test Method for Resistance to Plastic Flow of Bituminous Mixtures Using Marshall Apparatus (6 inch-Diameter Specimen)

ASTM D5821	Standard Test Method for Determining the Percentage of Fractured Particles in Coarse Aggregate

ASTM D6307	Standard Test Method for Asphalt Content of Hot-Mix Asphalt by Ignition Method

ASTM D6373	Standard Specification for Performance Graded Asphalt Binder

ASTM D6752	Standard Test Method for Bulk Specific Gravity and Density of Compacted Bituminous Mixtures Using Automatic Vacuum Sealing Method

ASTM D6925	Standard Test Method for Preparation and Determination of the Relative Density of Hot Mix Asphalt (HMA) Specimens by Means of the SuperPave Gyratory Compactor

ASTM D6926	Standard Practice for Preparation of Bituminous Specimens Using Marshall Apparatus

ASTM D6927	Standard Test Method for Marshall Stability and Flow of Bituminous Mixtures

ASTM D6995 	Standard Test Method for Determining Field VMA based on the Maximum Specific Gravity of the Mix (Gmm)

ASTM E11	Standard Specification for Woven Wire Test Sieve Cloth and Test Sieves

ASTM E178	Standard Practice for Dealing with Outlying Observations

ASTM E2133	Standard Test Method for Using a Rolling Inclinometer to Measure Longitudinal and Transverse Profiles of a Traveled Surface

American Association of State Highway and Transportation Officials (AASHTO)

AASHTO M156	Standard Specification for Requirements for Mixing Plants for Hot-Mixed, Hot-Laid Bituminous Paving Mixtures

AASHTO T329	Standard Method of Test for Moisture Content of Hot Mix Asphalt (HMA) by Oven Method

AASHTO T 340 	Standard Method of Test for Determining the Rutting Susceptibility of Hot Mix Asphalt (APA) Using the Asphalt Pavement Analyzer (APA)

Asphalt Institute (AI)

MS-2	Mix Design Manual, 7th Edition

MS-26	Asphalt Binder Handbook
AI State Binder Specification Database

FAA Orders

5300.1	Modifications to Agency Airport Design, Construction, and Equipment Standards

Federal Highway Administration (FHWA)

Long Term Pavement Performance Binder program

Software

FAARFIELD

END OF ITEM P-403