READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of the “Carpeting” Work is indicated on the Contract Documents. The Work includes the requirements to provide a complete carpeted surface including all appurtenances and new base.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - DOC FF1-70 flame spread

    - DOC FF1-70 pill test

    - State of Washington Fire Marshal affidavits

  - SUBMITTALS

    - Submit material data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

      - Samples: Submit sample pieces of proposed carpet, pad, base and seam.

      - Affidavits: Affidavits from the State of Washington Fire Marshal and a letter from the manufacturer on its letterhead stating compliance with the fire test requirements shall accompany the bid.

  - PRODUCT HANDLING

    - Protection: Use all means necessary to protect carpeting materials before, during and after installation and to protect the installed Work and materials of other trades.

    - Replacements: In the event of damage, immediately make all repairs and replacements necessary to the approval of the Engineer at no additional cost to the Port.

  - QUALITY ASSURANCE

    - Provide at least one person who shall be present at all times during execution of all portions of the Work, who shall direct and be thoroughly familiar with the type of materials being installed and the best methods for their installation.

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - GENERAL

    - All carpet in each enclosed area shall be of the same dye lot.

    - Static buildup in the carpet shall not exceed 3.0 kV.

    - Carpet shall be flame-resistant, shall pass DOC FF1-70 flame spread of less than 75, and shall have a smoke index of less than 200.

    - All products shall exceed or equal the following in materials, weight, color and performance and must be approved by the Engineer.

  - CARPET SPECIFICATION (CPT A)

    - Basis of design is for manufacturer and type listed below. Carpet of other manufacturers of the same type and quality must be submitted for approval in accordance with Section 01 25 00 - Substitutions:

      - Manufacturer: Patrick (Note to Designer – Provide 2 manufacturers), Or Approved Equal.

      - Color: No. [___] Stonehedge

      - Pattern: [___]

      - Pile Type: Textured loop, 100% Antron III, Or Approved Equal

      - Static Control: Less than 3.0 kV buildup

      - Pile Weight: 38 oz. per sq. yd.

      - Finished Pile Height: 1/4 inch

      - Backing:

        - Primary: Woven polypropylene, [3.5 oz.] per sq. yd.

        - Secondary: [721] woven jute, [7 oz.] per sq. yd.

      - Total Weight: [81] oz. per sq. yd.

      - Width: 12 feet

      - Location: [___]

  - CARPET SPECIFICATIONS (CPT B)

Enter specific information.

    - Basis of design is for manufacturer and type listed below. Carpet of other manufacturers of the same type and quality must be submitted for approval in accordance with Section 01 25 00 - Substitutions:

      - Color: [___]

      - Pattern: [___]

      - Pile Type: [___]

      - Static Control: [___]

      - Pile Weight: [___]

      - Finished Pile Height: [___]

      - Backing:

        - Primary: [___]

        - Secondary: [___]

      - Total Weight: [___]

      - Width: [___]

      - Location: [___]

Enter additional Carpet Schedules as required.

  - PAD

    - Shall be OMALON, Commercial Grade Spec. 3, with 0.265-inch thickness (Note to Designer – Provide 2 manufacturers), Or Approved Equal.  The pad shall be new, clean, sanitary and free of defects. It shall meet the requirements of both DOC FF1-70 (“Pill Test”) and smoke index of less than 200.

  - SEAMING TAPE

    - Seaming tape shall be heat seaming tape as recommended by the manufacturer for this particular installation.

  - OTHER MATERIALS

    - All other materials not specifically described but required for a complete and proper installation of carpet shall be as selected by the Contractor, subject to the approval of the Engineer.

- EXECUTION

  - PREPARATORY REVIEW

    - Inspection: All floors shall be dry, broom clean and free of springiness, grease, oil, paint, varnish, hardeners, sprinkled cement, plaster droppings, or all other material that would interfere with the proper installation of the carpet.

    - Discrepancies: Level all floors and make free of irregularities to ensure one constant floor height after the carpet is installed. Inspect the sub-flooring before starting the Work. Notify the Engineer in writing of any condition which will prevent satisfactory completion of this Work. Do not proceed with Work until such defects are entirely corrected.

  - PLACING

    - Installation: Perform the installation under the supervision of the manufacturer or a manufacturer’s authorized representative with a past satisfactory record of performance. Carefully check all measurements, dimensions and other conditions in the field and properly fit carpet in the areas designated.

    - Workmanship: Do not install carpet until surfaces are satisfactory for bonding and all other Work has been completed. Finished surfaces shall be free of buckles, blisters, or other imperfections. No cross seams will be allowed perpendicular to doorways or other high-traffic areas. Replace rejected areas promptly at no additional cost to the Port.

  - CLEANUP

    - Immediately remove spots and smears of floor-covering adhesive or seam cement and clean other soiled areas, with the appropriate solvent or cleaner recommended by the carpet manufacturer.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2