READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of “Wall Guard” Work is indicated in the Contract Documents.

  - REFERENCES

    - ASTM E84 flame spread

  - SUBMITTALS

    - Submit material data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittal shall include the following:

      - Samples: Submit six inch long sample of each type of unit required, showing finish material color selected and texture and extruded aluminum anchorage devices.

  - QUALITY ASSURANCE

    - Provide products of same manufacturer for all units specified.

  - JOB CONDITIONS

    - Coordinate accessory locations with other Work to avoid interference and to assure proper installation of units.

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - GENERAL

Competition waiver to be submitted to CPO for Construction Specialties, Inc. to be the only approved product for the Port.

    - Provide products manufactured by Construction Specialties, Inc., No Equal.

  - MATERIAL

    - General: Guards shall be manufactured from high-impact vinyl/acrylic material with matte finish pebble grain surface, color indicated, or if not indicated, as selected by Engineer. Color shall be integral throughout depth of material. Flame spread shall be limited to 25, in accordance with ASTM E84. Guards shall be equipped with extruded aluminum retainer, and manufacturer's standard anchorages for type of guard and substrate construction.

Competition waiver to be submitted to CPO for Construction Specialties, Inc. Model BG-30 to be the only approved product for the Port.

    - Wall Guard: Construction Specialties, Inc. Model “BG-30,” No Equal.  Wall guard shall be 2-3/4 inches high with bumper cushion.

Competition waiver to be submitted to CPO for Construction Specialties, Inc. Model SCR-64 to be the only approved product for the Port.

    - Base Guard: Construction Specialties, Inc. Model “SCR-64,”No Equal.  Base guard shall be eight inch high with vinyl cushion.

    - Miscellaneous: Provide complete with appropriate corners, returns, end caps, brackets and attachment hardware as shown or as required for a complete installation.

- EXECUTION

  - INSTALLATION

    - Install units in accordance with manufacturer’s instructions, using fasteners which are appropriate to substrate and recommended by manufacturer of units. Install units plumb and level, anchored in locations indicated.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2