READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of “Metal Toilet Compartments” Work is shown in the Contract Documents.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - CID A-A-60003 hardware

    - Commercial Item Description CID A-A-60003 room entrance screens

    - Commercial Item Description CID A-A-60003 toilet compartments

    - Commercial Item Description CID A-A-60003 urinal screens

  - SUBMITTALS

    - Submit material data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - APPROVED MANUFACTURERS

    - Sany Metal Products Company

    - Bobrick

    - Knickerbocker

    - Or Approved Equal

  - TOILET COMPARTMENTS

    - Toilet compartments shall conform to Commercial Item Description CID A-A-60003, Type I, Style [A, floor supported] [B, ceiling hung] [C, overhead braced] [F, overhead braced-alcove]. Width, length, and height of toilet enclosures shall be as shown. Finish surface of panels shall be [painted metal, Finish 1 Panels indicated to receive toilet paper holders or grab bars as specified in Section 10 28 13 - Toilet Accessories, shall be prepared for mounting of the items required. Grab bars shall withstand a bending stress, shear stress, shear force, and a tensile force induced by 250 lbs. Grab bars shall not rotate within their fittings].

  - ROOM ENTRANCE SCREENS

    - Room entrance screens shall conform to Commercial Item Description CID A-A-60003, Type II, Style [A, floor supported] [E, wall hung] [___]. Finish surface of screens shall be painted metal, Finish 1. Length and height of screens shall be as shown.

  - URINAL SCREENS

    - Urinal screens shall conform to Commercial Item Description CID A-A-60003, Type III, Style [A, floor supported] [D, floor to ceiling hung]. Finish surface of screens shall be painted metal, Finish 1. Width and height of urinal screens shall be as shown.

  - HARDWARE

    - Hardware for the toilet compartment system shall conform to CID A-A-60003 for the specified type and style of partitions. Hardware finish shall be highly resistant to alkaline, urine, and other common toilet room acids.

    - Partitions shall be provided with all operating and supporting hardware in stainless steel or dull chrome finish. Provide each door with one pair of concealed, adjustable gravity hinges to hold the door open when not in use; one rubber-tipped coat hook and bumper; one concealed turn or slide-bolt latch with combination door stop and latch-keeper.

  - COLORS

    - Color of finishes for toilet partition system components shall be manufacturer's standard [as specified in COLOR SCHEDULE].

- EXECUTION

  - GENERAL

    - Provide adequate blocking, bracing, to install the products level and plumb where indicated on the drawings.

  - INSTALLATION

    - Install metal toilet compartments and screens and secure rigidly in place in accordance with the manufacturer’s recommendations using vandal-proof screws and fastenings. Adjust doors to operate freely and easily with a vertical edge clearance of 3/16-inch maximum. Touch up abraded spots with matching enamel. Clean all surfaces before final inspection.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2