READ THIS FIRST

The Engineer shall verify that the latest version of the Federal Aviation Administration Advisory Circular AC 150/5370-10, “Standards for Specifying Construction Of Airports” and that the latest version of the “Errata Sheet for Advisory Circular (AC) 150/5370-10, Standard Specifications for Construction of Airports” are incorporated into this specification.

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

PART 1 GENERAL

  - SUMMARY OF WORK

    - Chip Seal Coat shall be provided in accordance with the provisions of FAA Item P-609 Chip Seal Coat, attached hereto.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - TBD

  - SUBMITTALS

    - Submit materials data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - Submittals shall include the following:

PART 2 NOT USED

PART 3 NOT USED

PART 4 NOT USED

End of Section

Revision History:

02/21/2020 New Section from FAA AC 150/5370-10H including errata through 11/12/2019

- Item P-609 Chip Seal Coat

DESCRIPTION

************************************************************************************

This method of treatment may leave excessive amounts of loose aggregate on the surface of the pavement and therefore is only recommended for use on pavements other than airfield pavements.

A chip seal coat may be used on airfield tertiary pavements including overruns, roads, and other general applications which are not subject to routine turbo-prop and jet engine aircraft.

When considered for areas where aircraft may operate, a chip seal coat for use on general aviation airports serving airplanes 12,500 lbs (5670 kg) or less; use at other locations will require the submission of a modification to standards in accordance with FAA Order 5300.1, Modifications to Agency Airport Design, Construction, and Equipment Standards.

A chip seal followed by application of a slurry seal (Item P-626) may be an option where small aircraft may operate.  (A chip seal followed by a slurry seal is sometimes referred to as a cape seal.)

The Engineer must verify the selected materials comply with federal, state, and local authority requirements.

************************************************************************************

609-1.1 This item shall consist of a chip seal coat (single surface treatment and multiple surface treatment) as a wearing course composed of [   a single application   ] [   multiple applications   ] of asphalt material and aggregate cover placed on the prepared primed base or properly cured wearing surface, in accordance with these specifications, and shall conform to the dimensions and typical cross-section shown on the plans or as directed by the Resident Project Representative (RPR).

609-1.2 Quantities of materials per square yard (square meter). The approximate amounts of materials per square yard (square meter) for the chip seal shall be as provided in the table below for the treatment specified on the plans or in the special provision. The exact amounts to be used shall be determined by the RPR.

Quantities of Materials

| Application No. | Quantity of Aggregate lb/square yard (kg/sq m) | Quantity of Asphalt gal/square yard (l/sq m) | Type of Asphalt1 |
| --- | --- | --- | --- |
| 1 | 40-50 (21.7-27.1) | 0.35-0.45 (1.58-2.03) | Asphalt cement |
|  |  | 0.40-0.50 (1.81-2.26) | Emulsified asphalt |
| 2 | 20-25 (10.9-13.6) | 0.15-0.25 (0.68-1.13) | Asphalt cement |
|  |  | 0.20-0.35 (0.90-1.58) | Emulsified asphalt |
| 3 | 15-20 (8.1-10.9) | 0.15-0.20 (0.68-0.90) | Emulsified asphalt |

1 	See paragraph 609-2.2 for grades of asphalt and spraying temperatures.

************************************************************************************

The quantities of asphalt shown in the table cover the average range of conditions that include primed granular bases and old pavement surfaces. The quantities and types of materials should take into consideration local conditions and experience.

The lower application rates shown in the table should be used for aggregate having gradations on the fine side of the specified limits. The higher application rates should be used for aggregate having gradations on the coarse side of the specified limits.

The asphalt content selected should reflect the condition of the pavement. If the pavement is highly oxidized, badly cracked, or coarse more asphalt should be used.

************************************************************************************

MATERIALS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

609-2.1 Aggregate materials. Coarse aggregate shall consist of sound, tough, durable particles, free from films of matter that would prevent thorough coating and bonding with the asphalt material and free from organic matter and other deleterious substances.

The crushed aggregate for the applications shall meet the requirements for gradation given in the table below when tested in accordance with ASTM C136.

Aggregate Material Requirements

| Material Test | Requirement | Standard |
| --- | --- | --- |
| Resistance to Degradation | Loss: 40% maximum | ASTM C131 |
| Soundness of Aggregates by Use of Sodium Sulfate or Magnesium Sulfate | Loss after 5 cycles: 12% maximum using Sodium sulfate - or - 18% maximum using magnesium sulfate | ASTM C88 |
| Clay lumps and friable particles | 0.3% maximum | ASTM C142 |
| Percentage of Fractured Particles | Minimum 90% by weight of particles with at least two fractured faces1 | ASTM D5821 |
| Flat, Elongated, or Flat and Elongated Particles | 8% maximum, by weight, of flat, elongated, or flat and elongated particles at 3:1 | ASTM D4791 |
| Bulk density of slag | Weigh not less than 70 pounds per cubic foot (1.12 Mg/cubic meter) | ASTM C29 |

1 	The area of each face shall be equal to at least 75% of the smallest mid-sectional area of the piece. When two fractured faces are contiguous, the angle between the planes of fractures shall be at least 30 degrees to count as two fractured faces. Fractured faces shall be achieved by crushing.

Requirements for Gradation of Aggregate1

| Sieve Designation (square openings) | Percentage by Weight Passing Sieves |  |  |
| --- | --- | --- | --- |
|  | Aggregate No. 1 | Aggregate No. 2 | Aggregate No. 3 |
| 1 inch (25.0 mm) 3/4 inch (19.0 mm) 1/2 inch (12.5 mm) 3/8 inch (9.5 mm) No. 4 (4.75 mm) No. 8 (2.36 mm) No. 16 (1.18 mm) | 100 90-100 20-55 0-15 0-5 | 100 90-100 40-70 0-15 0-5 | 100 85-100 10-30 0-10 0-5 |

1 Locally available aggregate used for chip seals with similar gradations may be used provided the maximum aggregate size is the same; and the aggregate meets all other quality requirements in these specifications.

The gradations in the table represent the limits that shall determine suitability of aggregate for use for the specified applications from the sources of supply. The final gradations decided on, within the limits designated in the table, shall be uniformly graded from coarse to fine.

The aggregate shall show no evidence of stripping or swell. The use of anti-strip agents for the control of stripping shall be used if necessary.

609-2.2 Asphalt material. The asphalt material shall conform to the types, grades, controlling specifications, and application temperatures for the asphalt materials as recommended by the manufacturer.

Asphalt Materials Properties

| Type(s) and Grade(s) | Specification(s) |
| --- | --- |
| * | * |

************************************************************************************

Designate the emulsified asphalt or asphalt binder material(s) to be used per ASTM D3628 or ASTM D6373. Application temperatures for the asphalt materials shall be as recommended by the manufacturer.  The maximum temperature for asphalt binder shall be below that at which fogging occurs.

************************************************************************************

The Contractor shall provide a copy of the manufacturer’s Certificate of Analysis (COA) for the asphalt material. If the asphalt emulsion is diluted at other than the manufacturer’s facility, the Contractor shall provide a supplemental COA from an independent laboratory verifying the asphalt emulsion properties.

The COA shall be provided to and approved by the RPR before the emulsified asphalt is applied.  Furnishing the vendor’s certified test report for the asphalt material shall not be interpreted as basis for final acceptance. The manufacturer’s COA may be subject to verification by testing the material delivered for use on the project.

609-2.3 Sampling and Testing. Sampling and testing is the responsibility of the Contractor. Sampling and testing shall be performed by an approved commercial testing laboratory, or by the Contractor, subject to approval by the RPR. Sampling shall be in accordance with ASTM D75 for aggregates and ASTM D140 for asphalt material, unless otherwise directed. Perform aggregate gradation tests on each sample in accordance with ASTM C136. Perform all other aggregate tests on the initial source samples and repeat tests when there is a change of source. Perform sieve analyses daily from material samples. The tests shall include an analysis of each gradation of material. Submit copies of test results, within 24 hours after completion of each test.

CONSTRUCTION METHODS

609-3.1 Weather limitations. Asphalt material shall be applied only when the existing surface or base course is dry or contains no excess moisture in an amount that will not permit uniform distribution and adhesion.  Chip seal coat shall not be applied when either the atmospheric temperature is below 60°F (16°C) or the pavement surface to be treated is below 70°F (21°C) unless otherwise directed by the RPR. No material shall be applied when rain is imminent or when dust or sand is blowing.

609-3.2 Equipment and tools. The Contractor shall furnish all equipment, tools, and machines necessary for the performance of the work.

a. Asphalt distributors. The distributors shall have pneumatic tires of such width and number that the load produced on the base and surface does not exceed 65.0 pounds per square inch (4.5 kg per sq cm) of tire width. Distributors shall be designed and equipped to distribute asphalt material uniformly at even heat on various widths of surface at readily determined and controlled rates ranging from 0.05 to 1.00 gallons/square yard (0.20 to 4.5 L/square meter), with a pressure range of 25 to 75 psi (172 to 517 kPa). The allowable variation from any specified rate shall not exceed 5%. Distributor equipment shall include a separate power unit for the bitumen pump, full-circulation spray bars, tachometer, pressure gauges, volume-measuring devices, a thermometer for reading the temperature of tank contents, and a hose attachment suitable for applying asphalt material to areas not accessible with distributor spray bar. The distributor shall be equipped for circulation and agitation of asphalt material during the heating process.

b. Aggregate spreader. The aggregate spreader shall be a self-propelled mechanical spreader or truck-attached mechanical spreader capable of uniformly distributing aggregate at the specified rates.

c. Power Rollers. Power rollers shall be steel-wheeled or pneumatic-tired type, conforming to the following requirements:

(1) Steel-wheeled rollers shall have at least one steel drum and weigh a minimum of 5 tons (4 metric tons). Steel wheels of the rollers shall be equipped with adjustable scrapers.

(2) Pneumatic-tired rollers shall be self-propelled and have wheels mounted on two axles in such manner that the rear tires will not follow in the tracks of the forward group. Tires shall be uniformly inflated to not less than 60 psi (414 kPa) nor more than 80 psi (552 kPa) pressure. The pneumatic-tired rollers shall be equipped with boxes or platforms for ballast loading and shall be loaded so that the tire print width of each wheel is not less than the clear distance between tire prints.

d. Power broom. A power broom and/or blower shall be provided for removing loose material from the surface to be treated.

e. Equipment calibration.  Asphalt distributors must be calibrated within the same construction season in accordance with ASTM D2995.  The Contractor must furnish a current calibration certification for the asphalt distributor truck from any State or other agency as approved by the RPR.

609-3.3 Preparation of asphalt pavement surfaces. Clean pavement surface immediately prior to placing the seal coat so that it is free of dust, dirt, grease, vegetation, oil or any type of objectionable surface film.  Remove oil or grease from the asphalt pavement by scrubbing with a detergent, washing thoroughly with clean water, and then treat these areas with a soil spot primer.  Any additional surface preparation, such as crack repair, shall be in accordance with Item P-101, paragraph 101-3.6.

609-3.4 Control strip.  [   A control strip is not required.   ] [   Preliminary to providing a complete chip seal coat, treat [   three   ] [      ] lengths of at least 100 feet (30 m) each for the full width of the distributor bar. Use the appropriate typical application rates specified herein for one surface treatment trial. Make other chip seal coat trials using various amounts of materials as may be deemed necessary. A qualified manufacturer’s representative shall be present in the field to assist the Contractor to determine the optimum application rate of both asphalt material and aggregate.   ]

609-3.5 Application of asphalt material. Asphalt material shall be applied on the prepared surface at the rate and temperature specified using a pressure distributor to obtain uniform distribution over all surfaces treated. Unless the distributor is equipped to obtain a satisfactory result at the junction of previous and subsequent applications, building paper shall be spread on the surface for a sufficient distance back from the ends of each application so that flow through the sprays may be started and stopped on the paper in order that all sprays will operate at full force on the surface treated. Immediately after application, remove and destroy the building paper. Areas inaccessible to the distributor shall be properly treated with asphalt material using the hose attachment. Protect adjacent structures to prevent their being spattered or marred. To ensure proper drainage, the strips shall begin along the centerline of the pavement on a crowned section or on the high side of the pavement with a one-way slope.

609-3.6 Application of aggregate material. Immediately after the application of the asphalt material, the aggregates at the rate specified for each designated application shall be spread uniformly over the asphalt material. Trucks spreading aggregate shall be operated backward so that the asphalt material will be covered before the truck wheels pass over it. The aggregate shall be spread in the same width of application as the asphalt material and shall not be applied in such thickness as to cause blanketing. Spread aggregate evenly by hand on all areas missed by the mechanical spreader. When hand spreading is employed on inaccessible areas, spread aggregate directly from trucks. Additional aggregate shall be spread by hand over areas having insufficient cover, and spreading shall continue during these operations when necessary. Back-spotting or sprinkling of additional aggregate material, and pouring additional asphalt material over areas that show up having insufficient cover or bitumen, shall be done by hand whenever necessary. Additional spreading of aggregate material shall be done by means of a broom drag, a power broom, or other approved equipment as directed by the RPR.

Immediately after spreading each application, the aggregate shall be rolled. The rolling shall be continued until no more aggregate material can be worked into the surface. In the construction of the second and third application, blading with the wire-broom moldboard attachment or broom dragging shall begin as soon as possible after the rolling has started and after the surface has set sufficiently to prevent excessive marking. Further blading and rolling on the strip being placed and on adjacent strips previously placed, shall be done as often as necessary to keep the aggregate material uniformly distributed. These operations shall be continued until the surface is evenly covered and cured to the satisfaction of the RPR.

Multiple applications shall not be applied until the preceding application has set and in no case until at least 24 hours have elapsed. Remove excess aggregate prior to the second application of asphalt material. If the treated surface is excessively moistened by rain, allow the surface to dry for such time as deemed necessary. If dust, dirt, or other foreign matter accumulates on the surface between the applications, the Contractor shall be required to sweep and clean the surface as specified. The asphalt material and the aggregate shall be spread on the clean and properly cured surface and handled as required. Avoid brooming or tracking dirt or any foreign matter on any portion of the pavement surface under construction.

Minimize aggregate from being broadcast and accumulating on the untreated pavement adjacent to an application pass.  Prior to the next application pass, the Contractor shall clean areas of excess or loose aggregate and remove from project site.

609-3.7 Correction of defects. Any defects, such as raveling, low centers, lack of uniformity, or other imperfections shall be corrected immediately to the satisfaction of the RPR.

All defective materials resulting from over-heating, improper handling, or application shall be removed by the Contractor and replaced with approved materials per these specifications.

609-3.8 Freight and weigh bills. The Contractor shall submit waybills and delivery tickets during progress of the work. Before the final statement is allowed, file with the RPR certified waybills and certified delivery tickets for all asphalt materials used in the construction of the pavement covered by the contract. Do not remove asphalt material from storage until the initial outage and temperature measurements have been taken. The delivery or storage units will not be released until the final outage has been taken.

609-3.9 Protection.  Keep all traffic off surfaces freshly treated with asphalt material. Provide sufficient warning signs and barricades so that traffic will not travel over freshly treated surfaces. Protect the treated areas from traffic for at least 24 hours after final application of asphalt material and aggregate, or for such time as necessary to prevent picking up. Immediately prior to opening to traffic, roll the entire treated area with a self-propelled pneumatic-tired roller.

METHOD OF MEASUREMENT

609-4.1 The asphalt material shall be measured by the [   gallon (liter)   ] [   ton (kg)   ]. Volume shall be corrected to the volume at 60°F (16°C) in accordance with ASTM D1250 for asphalt and Table IV-3 of The Asphalt Institute Manual MS-6 for emulsified asphalt. Water added to emulsified asphalt will not be measured for payment.

609-4.2 The chip seal coat application shall be measured by the square yard (m2).

BASIS OF PAYMEN

609-5.1 Payment shall be made at the contract unit price per [   gallon   ] [   ton   ] for asphalt material for surface treatment. These prices shall be full compensation for furnishing all materials and for all preparation, hauling and application of the materials, and for all labor, equipment, tools, and incidentals necessary to complete the item.

609-5.2 Payment shall be made at the contract unit price per square yard (m2) for the chip seal coat application. These prices shall be full compensation for furnishing all materials and for all preparation, hauling and application of the materials, and for all labor, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item P-609-5.1	Asphalt Material - per [   gallon (liter)   ] [   ton (kg)   ]

Item P-609-5.2	Chip seal coat application - per square yard (square meter)

References

The publications listed below form a part of this specification to the extent referenced. The publications are referred to within the text by the basic designation only.

ASTM C29	Standard Test Method for Bulk Density (“Unit Weight”) and Voids in Aggregate

ASTM C88	Standard Test Method for Soundness of Aggregates by Use of Sodium Sulfate or Magnesium Sulfate

ASTM C131	Standard Test Method for Resistance to Degradation of Small-Size Coarse Aggregate by Abrasion and Impact in the Los Angeles Machine

ASTM C136	Standard Test Method for Sieve or Screen Analysis of Fine and Coarse Aggregates

ASTM C142	Standard Test Method for Clay Lumps and Friable Particles in Aggregates

ASTM D75	Standard Practice for Sampling Aggregates

ASTM D946	Standard Specification for Penetration-Graded Asphalt Cement for Use in Pavement Construction

ASTM D977	Standard Specification for Emulsified Asphalt

ASTM D1250	Standard Guide for Use of the Petroleum Measurement Tables

ASTM D2397	Standard Specification for Cationic Emulsified Asphalt

ASTM D2995	Standard Practice for Estimating Application Rate and Residual Application Rate of Bituminous Distributors

ASTM D3381	Standard Specification for Viscosity-Graded Asphalt-Cement for Use in Pavement Construction

ASTM D4791	Standard Test Method for Flat Particles, Elongated Particles, or Flat and Elongated Particles in Coarse Aggregate

ASTM D5821	Standard Test Method for Determining the Percentage of Fractured Particles in Coarse Aggregate

Asphalt Institute (AI)

MS-6 Table IV-3 Asphalt Pocketbook of Useful Information (Temperature-Volume Corrections for Emulsified Asphalts)

FAA Orders

5300.1	Modifications to Agency Airport Design, Construction, and Equipment Standards

END OF ITEM P-609